Main advantages/disadvantages of the methods available for monitoring FRETeff at single cell level

|  |  | Advantages | References |
| --- | --- | --- | --- |
|  |  | Disadvantages |  |
| Methods | E-FRET | - Very precise quantification of molecular interactions | [1] |
|  |  | - Multiple sets of images are required - Donor-only and acceptor-only reference samples are required - Impracticable for live-cell imaging |  |
|  | FLIM-FRET | - Quantification of molecular interactions | [2] |
|  |  | - Very expensive - Specific instrumentation required - Prone to methodological errors |  |
|  | Quenching of donor fluorescence | - Relatively easy to perform - Applicable to live cell imaging | [3,4] |
|  |  | - Complete photobleaching may be difficult - Damage to alive cells may be serious |  |

Abbreviations: E-FRET = sensitized acceptor fluorescence; FLIM-FRET = donor fluorescence lifetime

Comparisons of FRETeff measurements with SCAT3 and other FRET probes

|  |  | FRET pair | Main features Advantages/Disadvantages | Theoretical FRETeff | References for isolated cells |
| --- | --- | --- | --- | --- | --- |
| Probes | SCAT3 | ECFP/Venus | - Fluorochrome stoichiometric ratio 1:1 - 18-aa linker - Insensitive to changes in cellular ionic concentrations | 0.35±0.08 (17-aa linker) [5] 0.22±0.02 (this work) | [6,7] |
|  | EYFP-based | ECFP/EYFP | - Changes in intracellular concentration of H+ or Cl- may cause FRET to detect artifact signals |  | [8-10] |

References

1. 	Hoppe A, Christensen K, Swanson JA. Fluorescence resonance energy transfer-based stoichiometry in living cells. Biophys J 2002;83:3652-64.

2. 	Hoffmann B, Zimmer T, Klocker N, Kelbauskas L, Konig K, Benndorf K, et al. Prolonged irradiation of enhanced cyan fluorescent protein or Cerulean can invalidate Forster resonance energy transfer measurements. J Biomed Opt 2008;13:031205.

3. 	Pelet S, Previte MJ, Kim D, Kim KH, Su TT, So PT. Frequency domain lifetime and spectral imaging microscopy. Microsc Res Tech 2006;69:861-74.

4. 	Gu Y, Di WL, Kelsell DP, Zicha D. Quantitative fluorescence resonance energy transfer (FRET) measurement with acceptor photobleaching and spectral unmixing. J Microsc 2004;215:162-73.

5. 	Koushik SV, Chen H, Thaler C, Puhl HL, III, Vogel SS. Cerulean, Venus, and VenusY67C FRET reference standards. Biophys J 2006;91:L99-L101.

6. 	Wu Y, Xing D, Luo S, Tang Y, Chen Q. Detection of caspase-3 activation in single cells by fluorescence resonance energy transfer during photodynamic therapy induced apoptosis. Cancer Lett 2006;235:239-47.

7. 	Wang L, Chen T, Qu J, Wei X. Quantitative analysis of caspase-3 activation by fitting fluorescence emission spectra in living cells. Micron 2009;40:811-20.

8. 	Tyas L, Brophy VA, Pope A, Rivett AJ, Tavare JM. Rapid caspase-3 activation during apoptosis revealed using fluorescence-resonance energy transfer. EMBO Rep 2000;1:266-70.

9. 	Luo KQ, Yu VC, Pu Y, Chang DC. Application of the fluorescence resonance energy transfer method for studying the dynamics of caspase-3 activation during UV-induced apoptosis in living HeLa cells. Biochem Biophys Res Commun 2001;283:1054-60.

10. 	Rehm M, Dussmann H, Janicke RU, Tavare JM, Kogel D, Prehn JH. Single-cell fluorescence resonance energy transfer analysis demonstrates that caspase activation during apoptosis is a rapid process. Role of caspase-3. J Biol Chem 2002;277:24506-14.