Supplementary Table S1. Comparison of Illumina sequencing platforms and their respective sequencing kits for HPV-STI analysis

	Illumina Platforms
	Illumina Seq. Kit
	Read Length
	Output
	Reads/Run
	Samples

	iSeq 100
	iSeq 2 x 150
	2 x 150
	1.2 Gb
	4 M
	192

	MiniSeq
	Mid-Output Kit
	2 x 150
	2.4 Gb
	8 M
	384

	MiniSeq
	High-Output Kit
	2 x 150
	7.5 Gb
	25 M
	1,200

	MiSeq
	MiSeq v2 Nano
	2 x 150
	300 Mb
	1 M
	48

	MiSeq
	MiSeq v2 Micro
	2 x 150
	1.2 Gb
	4 M
	192

	MiSeq
	MiSeq v2
	2 x 150
	4.5-5.1 Gb
	12-15 M
	576-720

	NextSeq
	Mid-Output Kit
	2 x 150
	32.5–39 Gb
	130 M
	6,240

	NextSeq
	High-Output Kit
	2 x 150
	100–120 Gb
	400 M
	>10,000
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