Additional File 1 Analytical sensitivity of the assays for this study is included as additional data.

Figure S1. The cut-off value for Clostridium perfringens type A was calculated with 95% confidence in order to demonstrate the analytical sensitivity of each assay.  A 2-fold dilution range was prepared for each serum.  The cut-off value for C. perfringens type A was determined to be 0.058 OD450 or 0.17 relative units as indicated by the arrow on the graph.

Figure S2. The cut-off value for Clostridium chauvoei was calculated with 95% confidence in order to demonstrate the analytical sensitivity of each assay.  A 2-fold dilution range was prepared for each serum.  The cut-off value for C. chauvoei was determined to be 0.393 OD450 or 22.95 relative units as indicated by the arrow on the graph.

Figure S3. The cut-off value for Clostridium novyi was calculated with 95% confidence in order to demonstrate the analytical sensitivity of each assay.  A 2-fold dilution range was prepared for each serum.  The cut-off value for C. novyi was determined to be 0.310 OD450 or 0.92 relative units as indicated by the arrow on the graph.

Figure S4. The cut-off value for Clostridium sordellii was calculated with 95% confidence in order to demonstrate the analytical sensitivity of each assay.  A 2-fold dilution range was prepared for each serum.  The cut-off value for C. sordellii was determined to be 0.207 OD450 or 0.51 relative units as indicated by the arrow on the graph.

Figure S5. The cut-off value for Clostridium septicum was calculated with 95% confidence in order to demonstrate the analytical sensitivity of each assay.  A 2-fold dilution range was prepared for each serum.  The following cut-of value for C. septicum was determined to be 0.309 OD450 or 0.61 relative units as indicated by the arrow on the graph.