Application of CRISPR-Cas12a/Cas13a dual Enzyme cleavage technology in the differential diagnosis of chikungunya virus and dengue virus

Tong Jiang, Zijing Guo, Zhuo Wang *

Department of Clinical Laboratory, Suzhou TCM Hospital Affiliated to Nanjing University of Chinese Medicine, Suzhou, Jiangsu, China, 215000

*Corresponding author:

Zhuo Wang

Email: zhuo_wang1019@126.com

Supplementary Table 1. Sequence of primers/crRNAs/ssDNAs

| Oligonucleotide | Sequence (5'-3') |
| --- | --- |
| CHIKV-F1 | TTTGCATCAGCATACAGGGCTCATACCGCAT |
| CHIKV-R1 | TGGCCCCACAATGAATTTGGCGTCCTTAACT |
| CHIKV-F2 | GAAGTCCGAATCATGCAAAACAGAATTTGCA |
| CHIKV-R2 | TGGTCGCCGTTTGCATAGGCAGTTACAGTGA |
| CHIKV-F3 | GAAGCACATGTGGAGAAGTCCGAATCATGCA |
| CHIKV-R3 | CTTAACTGTGACGGCATGGTCGCCGTTTGCA |
| CHIKV-F4 | CATCAGCATACAGGGCTCATACCGCATCCGC |
| CHIKV-R4 | CCCACAATGAATTTGGCGTCCTTAACTGTGA |
| CHIKV-F5 | TTGCATCAGCATACAGGGCTCATACCGCATC |
| CHIKV-R5 | GGCCCCACAATGAATTTGGCGTCCTTAACTG |
| CHIKV-F6 | CAGCATACAGGGCTCATACCGCATCCGCATC |
| CHIKV-R6 | ACAATGAATTTGGCGTCCTTAACTGTGACGG |
| CHIKV-F7 | CATACAGGGCTCATACCGCATCCGCATCAGC |
| CHIKV-R7 | ATGAATTTGGCGTCCTTAACTGTGACGGCAT |
| CHIKV-F8 | ACAGGGCTCATACCGCATCCGCATCAGCTAA |
| CHIKV-R8 | AATTTGGCGTCCTTAACTGTGACGGCATGGT |
| DENV-F1 | GTAGNGACTAGYGGTTAGAGGAGACCCCTCC |
| DENV-R1 | AGAACCTGTTGATTCAACAGCACCATTCCATT |
| DENV-F2 | GACTAGYGGTTAGAGGAGACCCCTCCC |
| T7-DENV-F2 | GAAATTAATACGACTCACTATAGGGGACTAGYGGTTAGAGGAGACCCCTCCC |
| DENV-F3 | AGGACTAGAGGTTAGAGGAGACCCCCCGCAC |
| DENV-F3 | ATCTCTGGTCTYTCCCAGCGTCATATGCTGT |
| DENV-F4 | RGACTAGYGGTTAGAGGAGACCCCTCCC |
| DENV-F5 | AKYRGACTAGYGGTTAGAGGAGACCCCTCCC |
| T7-DENV-F5 | GAAATTAATACGACTCACTATAGGGAKYRGACTAGYGGTTAGAGGAGACCCCTCCC |
| DENV-F6 | SGTAKYRGACTAGYGGTTAGAGGAGACCCCTCCC |
| DENV-R3-1 | ATCTCTGGTCTYTCCCAGCGTCATATGCTGTT |
| DENV-R3-2 | ATCTCTGGTCTYTCCCAGCGTCAATATGCTGTTTG |
| CHIKV-Cas12a-crRNA | UAAUUUCUACUAAGUGUAGAU |  |
|  | CCAAGGAAAUAACAUCACUGUAA |  |
| DENV-Cas13a-crRNA | GAUUUAGACUACCCCAAAAACGAAGGGGACUAAAAUC |  |
|  | GCUGGGAGAGACCAGAGAUCCUGCUGU |  |
| ssDNA-FQ1 | FAM-TTATT-BHQ1 |  |
| ssDNA-FB | FAM-TTTTTTTATTTTTTT-Biotin |  |
| ssRNA-RQ2 | ROX-UUUUUU-BHQ2 |  |
| ssRNA-DB | Dig-UUUUUUUUUUUU-Biotin |  |

Figure S1. Primer screening. (A) Validation and screening of CHIKV primer sets. (B) Validation and screening of DENV primer sets.

Figure S2. Structural diagrams of the genome and the specific Cas12a-crRNA and Cas13a-crRNA designed for CHIKV and DENV.
(A) Schematic of the CHIKV genome and the design of Cas12a-crRNA. The upper panel illustrates the full-length CHIKV genome with annotations of the non-structural protein-coding regions (nsP1–nsP4) and structural protein-coding regions (C-E3-E2-6K-E1). The lower panel displays the secondary structure model of the Cas12a-crRNA designed against a conserved region of the E1 gene, showing its characteristic stem-loop architecture comprising the targeting sequence and scaffold sequence; the PAM site is highlighted in red. (B) Schematic of the DENV genome and the design of Cas13a-crRNA. The upper panel illustrates the DENV genome organization with regions encoding the three structural proteins (C-prM-E) and seven non-structural proteins (NS1–NS5) within a single open reading frame. The lower panel presents the secondary structure model of the Cas13a-crRNA designed against a conserved region in the 3′-UTR, indicating the spatial configuration of the direct repeat and the specific spacer sequence. The process by which DENV target RNA is converted into dsDNA via RT-RAA amplification and subsequently into RNA through in vitro T7 transcription is also annotated.

Figure S3. Optimization of probe concentration for CRISPR dual-target lateral flow strip to achieve optimal negative control performance.

Supplementary Table 2. Performance Comparison of Different CRISPR-Based Detection Systems for Dengue and Chikungunya Virus Diagnosis

| Dimension | Traditional CRISPR Single System[35-37] | SHERLOCKv2 Multiplex System[38] | Our Study (Cas12a+Cas13a Dual-Enzyme) |
| --- | --- | --- | --- |
| Multiplexing Capability | Single target | Four channels, but with complex system architecture | Dual targets (DNA + RNA), streamlined system |
| Operational Simplicity | Step-wise reaction, highly dependent on large fluorescence instruments for readout | Difficult to unify multi-enzyme conditions, instrument-dependent | Visual readout via test strips, simple and convenient |
| Limit of Detection | 10–100 copies/mL | 10–100 copies/mL (per target) | 10–100 copies/mL |
| Clinical Applicability | Suitable for laboratory settings | Complex validation, challenging for translation | Adaptable to primary care/field settings, easy to lyophilize and integrate |
| Technical Scalability | Requires redesign of the system | Channel expansion limited by enzyme compatibility | Can be modularly expanded via crRNA library |