Additional file 1

Protocol for the Dr Goniometer app

- The DG app was opened and the correct setting, (i.e. increments of measurement etc.) was selected by the rater who was reading all findings and the reading covered with tape.

- The rater taking the measurement then placed the smartphone in the cradle & checked the distances.

- The inbuilt inclinometer was aligned to parallel, which made sure the smartphone was always level before taking the photo.

- The rater then dorsiflexed the 1st MTPJ to the end of it’s range of motion and took a photo.

- The three markers of the Dr D app were then placed onto the photo, one along the medial aspect of the 1st ray, (point C); one of the medial aspect of the 1st MPJ (point B) and one along the medial aspect of the 1st toe (point A)

- The angle created was then displayed at the bottom of the screen which was covered with opaque tape so that the rater could not see the measurement

- The smartphone was handed to the rater who recorded the angle on the pre-prepared spreadsheet.

Protocol for using the plastic goniometer

- The UG measurement scale was covered using a paper disc so that the rater could not see the measurement they have obtained

- One arm of the UG was aligned along the medial aspect of the 1st ray (point C)

- The centre of the pivot where the goniometer arms join was placed on the medial aspect of the 1st MTPJ joint (point B)

- The second arm of the goniometer was aligned with the medial aspect of the 1st toe (point A)

- The rater then dorsiflexed the 1st MTPJ to the end of its range of motion.

- The UG was then passed to rater who read the measurement and recorded it on a pre-prepared spread sheet.