## Sheet1
Table S1. PET/CT acquisition parameters of the two participating centers
Parameter | SYSUMH | ZJCH
Scanner model | Siemens Biograph mCT / Biograph 64 | GE Discovery 710
Manufacturer | Siemens Healthineers | GE Healthcare
Radiotracer | 18F-FDG | 18F-FDG
Injected activity | 3.7–5.55 MBq/kg | 3.7–7.4 MBq/kg
Patient preparation | ≥6 h fasting; blood glucose <200 mg/dL | ≥6 h fasting; blood glucose ≤11.1 mmol/L
Uptake time | ~60 min | 60 ± 5 min
Scan range | Skull base to proximal thighs | Skull base to proximal thighs
CT tube voltage | 120 kV | 120 kV
CT tube current | ~300 mA | 100–170 mA
Slice thickness | 3–4 mm | 3 mm
PET reconstruction | OSEM iterative reconstruction | OSEM iterative reconstruction
Additional reconstruction | TrueX / TOF (Siemens implementation) | Vendor default iterative reconstruction
Attenuation correction | CT-based | CT-based
SYSUMH, Sun Yat-sen Memorial Hospital; ZJCH, Zhejiang Cancer Hospital; 18F-FDG, 18F-fluorodeoxyglucose; PET: positron emission tomography; CT, computed tomography; OSEM, Ordered Subset Expectation Maximization; TOF, Time-of-Flight.