# Additional file 1: CfDNA measurement

- Plasma or serum(1 or 0)

- EDTA or cell-free DNA tubes(both are 1, others are 0)

- Blood must be processed before 4h

- 1, preferable 2 centrifugations

- Preferable -80 degree freeze if measurement is by specific sequence, or -20 up to three months if quantification of cfDNA