Additional File 1: Measurement of Bone Turnover Markers

The serum bone turnover markers CTX and P1NP were collected the morning after enrolment with routine early morning blood tests, and measured using the automated Roche Modular Analytics E170 analyser. Serum CTX limit of detection was 10 ng/L with inter-assay coefficient of variations (CVs) of 6.5% at 361 ng/L, 3.8% at 816 ng/L and 3.4% at 3304 ng/L (n = 10).  Serum P1NP inter-assay CVs were 4.9% at 73 μg/L, 2.6% at 392 μg/L, and 2.1% at 768 μg/L (n = 10) with a limit of detection of 5μg/L. 
