Additional file 5: Table S2. Estimated Effective Fractional Concentration of Oxygen in Inspired Gas of Low-Flow and Reservoir Oxygen Delivery Devices.

| Device | Flow (L/min) | FiO2 (%) |
| --- | --- | --- |
| Simple nasal cannula | 1 2 3 4 5 | 24 28 32 36 40 |
| Reservoir mask | 15 | 80 |
| Venturi Mask | 3 6 9 12 15 | 24 28 35 40 60 |
| High-flow nasal cannula | 40-60 | 30-100 |