Table S1. Comparison of diagnostic techniques used to detect microorganism that can be applied to the most common critically ill patients’ infections.

| Method | Sample | Technology | Time from sample to result | Advantages | Disadvantages | Reference |
| --- | --- | --- | --- | --- | --- | --- |
| dPCR | Blood, plasma and other clinical samples | dPCR | 3-4h | - Significantly reduces time from sample to results; - ±30min hands-on time; - High sensitivity and specificity; - Flexible/open system; - Detection of microorganisms and AMR genes; - No standard curve required; - Not affected by PCR inhibitors. | - Specialized training; - Unable to distinguish between viable and non-viable microorganisms; - High cost (particularly the initial investment). |  |
| Quick-FISH | Positive blood culture | FISH | 30min* | - Significantly reduces time from sample to results; - ±5 min hands-on time; - No specialized training; - High sensitivity and specificity (>95%); - Flexible/open system; - Low cost. | - Requires positive cultures (blood); - Closed system; - Detects a limited number of microorganisms; - Contingent upon correct interpretation of a Gram stain; - Requires a microorganism concentration of at least 105 CFU/mL for detection; - No AMR gene detection. | 22493336 |
| PNA-FISH | Positive blood and peritoneal fluid cultures | FISH | 2h* | - Significantly reduces time from sample to results; - ±5 min hands-on time; - No specialized training; - High sensitivity and specificity (>95%); - Flexible/open system; - Low cost. | - Requires positive cultures (blood); - Closed system; - Detects a limited number of microorganisms; - Contingent upon correct interpretation of a Gram stain; - Requires a microorganism concentration of at least 105 CFU/mL for detection; - No AMR gene detection. | 14510184 |
| Eazyplex PneumoBug | BAL, bronchial and tracheal samples | LAMP | 25min* | - Significantly reduces time from sample to results; - ±5 min hands-on time; - No specialized training; - Bench size system; - No DNA extraction. | - Unable to distinguish between viable and non-viable microorganisms; - High cost; - Closed system; - Detects a limited number of microorganisms; - No AMR gene detection. |  |
| Eazyplex BloodScreen | Positive blood culture | LAMP | 20min* | - Significantly reduces time from sample to results; - ±5 min hands-on time; - No specialized training; - High specificity (>90%) depending on the target; - Bench size system; - No DNA extraction. | - Requires positive cultures (blood); - High cost; - Closed system; - Detects a limited number of microorganisms; - No AMR gene detection; - Low sensitivity (>67%) depending on the target | 34807364 |
| ID-Now Abbot | NP swab | LAMP | <1h | - Significantly reduces time from sample to results; - ±5 min hands-on time; - High specificity (>95%); - Bench size system. | - Unable to distinguish between viable and non-viable microorganisms; - Low sensitivity (79%); - Only detects virus. | 33913533 |
| eazyplex SARS-CoV-2 | NP swab | LAMP | 25min | - Significantly reduces time from sample to results; - ±10 min hands-on time; - No specialized training; - Bench size system; - No RNA extraction. | - Unable to distinguish between viable and non-viable virus; - High cost; - Closed system; - Only accurate in high viral load samples (>74% sensitivity for samples with Ct<35). | 33836452 |
| MALDI-TOF | Positive blood, urine, CSF cultures | Mass spectrometry | <1h* | - Significantly reduces time from sample to results; - ±10 min hands-on time; - No specialized training; - High specificity (>95%); - Flexible/open system; - Low cost. | - Requires positive cultures (blood); - High initial investment; - Closed system; - Detects a limited number of microorganisms; - Requires a microorganism concentration of at least 105 CFU/mL for detection; - Low sensitivity; - Relies on databases; - Does not detect polymicrobial infections. | 34361974 |
| Verigene (BC-GP, BC-GN) | Positive blood culture | Microarray | <2h* | - Significantly reduces time from sample to results; - ±5 min hands-on time; - No specialized training; - Detection of microorganisms and AMR genes. | - Requires positive cultures (blood); - Closed system; - Detects a limited number of microorganisms; - Low through-put; - Low sensitivity; - Does not detect polymicrobial infections. | 30477953 |
| Verigene RP | NP swab | Microarray | <2h* | - Significantly reduces time from sample to results; - ±5 min hands-on time; - No specialized training. | - Closed system; - Detects a limited number of microorganisms; - Low through-put; - Does not detect polymicrobial infections. |  |
| Accelerate Pheno System | Positive blood culture | FISH; Morphokinetic cellular analysis | - 90min* (identification) -7h* (AMR detection) | - Significantly reduces time from sample to results; - ±5 min hands-on time; - No specialized training; - High specificity (>87%); - Detection of microorganisms and AMR genes; - Phenotypic antibiotic susceptibility detection; - Detects polymicrobial infections. | - Requires positive cultures (blood); - High cost; - Closed system; - Detects a limited number of microorganisms and AMR genes. |  |
| FilmaArray Respiratory panel | BAL | Nested qPCR | 1h | - Significantly reduces time from sample to results; - ±5 min hands-on time; - No specialized training; - On-demand access. | - Unable to distinguish between viable and non-viable virus; - High cost; - Closed system; - Detects a limited number of virus; - Low through-put. | 29018819 |
| FilmArray Bloodstream panel | Positive blood culture | nested qPCR | 1h* | - Significantly reduces time from sample to results; - ±5min hands-on time; - No specific training; - High sensitivity (>99%); - Detection of microorganisms and AMR genes; - On-demand access. | - Requires positive cultures (blood); - High cost; - Closed system; - Detects a limited number of microorganisms and AMR genes; - Low through-put. | 32305272 |
| FilmArray Pneumonia panel | Esputum, BAL, miniBAL, endotracheal aspirate | nested qPCR | 1h | - Significantly reduces time from sample to results; - ±5min hands-on time; - No specific training; - Detection of microorganisms and AMR genes; - On-demand access; - Semi-quantitative results for some targets. | - Unable to distinguish between viable and non-viable microorganisms; - High cost; - Closed system; - Detects a limited number of microorganisms and AMR genes; - Low sensitivity for some targets; - Low through-put; - Difficult to interpret results (no quantification - important to distinguish between infection and colonization). | 33130507 |
| Metagenomics | Blood sample | NGS | 1d | - Significantly reduces time from sample to results; - Flexible/open system; - Detection of microorganisms and AMR genes; - No limitation on the number of microorganism detected, including no-cultivable pathogens. | - Specialized training; - Unable to distinguish between viable and non-viable microorganisms; - >5h hand-on time; - High cost; - Relies on databases; - Difficult to interpret results. |  |
| SeptiTest | Blood sample | PCR + sequencing | 8-12h | - Significantly reduces time from sample to results; - High sensitivity (>87%) and specificity (86%); - Semiopen system (detects >300 microorganisms); - Detects polymicrobial infections. | - Specialized training; - Unable to distinguish between viable and non-viable microorganisms; - High cost; - Closed system; - Difficult to interpret results; - Low through-put. |  |
| Abbott Plex-ID/IRIDICA | Blood and other clinical samples | PCR + Mass Spectrometry | 7h | - Significantly reduces time from sample to results; - High negative predictive value (97%); - High multiplexing capability; - Detects polymicrobial infections; - Low detection limit (4-16 CFU/mL). | - Specialized training; - Unable to distinguish between viable and non-viable microorganisms; - High cost; - Closed system; - Detects a limited number of microorganisms; - No AMR gene detection. - Low sensitivity (81%) and specificity (69%); - Relies on databases. | 28427796 |
| LightCycler SeptiFast | Blood sample | qPCR | 3-6h | - Significantly reduces time from sample to results; - High specificity (92%); - Covers 90% of most common BSI pathogens; - Low detection limit (3-30 CFU/mL for bacteria and 100 CFU/mL for fungi). | - Specialized training; - Unable to distinguish between viable and non-viable microorganisms; - High cost; - Closed system; - Detects a limited number of microorganisms; - Detects just 1 AMR gene; - Low sensitivity (75%); - Low through-put. | 28427796 |
| Magicplex Sepsis Real-Time | Blood sample | qPCR | 3-6h | - Significantly reduces time from sample to results; - High specificity (92%). | - Specialized training; - Unable to distinguish between viable and non-viable microorganisms; - High cost; - Closed system; - Detects a limited number of microorganisms and AMR genes; - Low sensitivity (±70%). | 28427796 |
| GeneXpert | NP swab, plasma | qPCR | 30min-1h | - Significantly reduces time from sample to results; - ±5min hands-on time; - No specific training; - On-demand access. | - Unable to distinguish between viable and non-viable microorganisms; - High cost; - Closed system; - Detects a limited number of microorganisms and AMR genes; - Low through-put. |  |
| T2Dx | Blood sample | T2MR (miniaturized magnetic resonance) | 5h | - Significantly reduces time from sample to results; - ±5min hands-on time; - High sensitivity and specificity (90%); - High negative predictive value (±100%); - On-demand access. | - Unable to distinguish between viable and non-viable microorganisms; - High cost; - Closed system; - Detects a limited number of microorganisms and AMR genes; - Low through-put. | 31083728 |

* After positive blood culture.

Abbreviations: AMR – Antimicrobial resistance, FISH - Fluorescence in situ hybridization, PNA - Peptide nucleic acid probes, BAL – Bronchoalveolar Lavage, LAMP - Loop-mediated isothermal amplification, MALDI-TOF - Matrix-assisted laser desorption ionization time-of-flight, NP – Nasopharyngeal, BC – Blood culture, GP – Gram-Positive, GN – Gram-Negative, RP - Respiratory Pathogen, qPCR – real time polymerase chain reaction, NGS – Next-generation sequencing, PCR - polymerase chain reaction.