Additional file 4

| Slopes | F vs C | F vs IC | F vs DCIS | C vs IC | C vs DCIS | IC vs DCIS |
| --- | --- | --- | --- | --- | --- | --- |
| 850-1122nm |  |  |  | x |  |  |
| 850-1210nm |  |  |  | x |  |  |
| 850-1350nm | x |  |  |  |  |  |
| 850-1440nm |  |  |  | x |  |  |
| 850-1584nm |  |  | x |  |  |  |
| 850-1592nm / 850-1598nm | x | x |  |  |  |  |
| 861-907nm / 867-905nm |  | x | x |  |  |  |
| 870-1084nm |  |  |  |  | x |  |
| 874-909nm / 875-911nm | x |  |  |  |  | x |
| 883-1149nm / 883-1150nm | x | x |  |  |  |  |
| 918-1587nm / 918-1594nm | x | x |  |  |  |  |
| 921-1349nm / 924-1346nm / 924-1354nm | x | x | x |  |  |  |
| 925-1419nm |  |  |  |  |  | x |
| 926-1149nm / 927-1149nm / 928-1152nm | x | x | x |  |  |  |
| 931-1195nm |  |  |  |  |  | x |
| 932-967nm / 936-971nm | x | x | x |  | x | x |
| 999-1034nm |  |  |  |  | x |  |
| 1024-1059nm |  |  |  | x |  |  |
| 1043-1581nm / 1046-1590nm | x | x |  |  |  |  |
| 1051-1557nm |  |  | x |  |  |  |
| 1081-1346nm / 1082-1343nm | x | x |  |  |  |  |
| 1091-1348nm |  |  | x |  |  |  |
| 1112-1147nm / 1113- 1148nm | x | x |  |  |  |  |
| 1121-1404nm / 1123-1405nm / 1130-1407nm |  |  |  | x | x | x |
| 1125-1160nm / 1127-1162nm / 1134-1169nm |  |  |  | x | x | x |
| 1201-1236nm |  |  |  |  | x |  |
| 1210-1551nm | x |  |  |  |  |  |
| 1210-1561nm |  | x |  |  |  |  |
| 1211-1517nm |  |  | x |  |  |  |
| 1213-1248nm | x | x | x |  |  |  |
| 1214-1339nm |  |  | x |  |  |  |
| 1299-1334nm / 1302-1337nm / 1305-1340nm | x | x | x |  |  |  |
| 1312-1347nm |  |  |  |  | x |  |
| 1363-1398nm |  |  |  | x | x | x |
| 1372-1409nm / 1373-1413nm | x | x |  |  |  |  |
| 1395-1430nm |  |  | x |  |  |  |
| 1467-1502nm / 1468-1503nm | x | x | x |  |  |  |
| 1517-1552nm / 1521-1556nm / 1522-1557nm |  |  |  | x | x | x |
| F = Fat, C = Connective, IC = Invasive Carcinoma, DCIS = Ductal Carcinoma In Situ |  |  |  |  |  |  |

Additional file 4. List of slopes derived from comparing the DRS spectra of different combinations of tissue types. In some cases, the slope from one comparison of tissue types showed overlap with the slope from another comparison between two tissue types. For example in the comparison of ‘Fat’ with ‘Connective’ the slope between 850 nm and 1592 nm differed significantly. However, for the comparison of ‘Fat’ with ‘IC’, the slope between 850nm and 1598nm differed significantly. Since the first wavelength was equal for both slopes and the second wavelengths were just 6nm apart these were combined into one spectral feature.