## Additional file 8

Feature

Slopes

slope 850-1122nm

slope 850-1584nm

slope 874-909nm

slope 921-1349nm

slope 1043-1581nm

slope 1210-1551nm

slope 1467-1502nm

Local minima

maximum difference of local minimum @932nm

wl of inflection point on left side of local minimum @987nm

wl of inflection point on left side of local minimum @1205nm

wl of inflection point on left side of local minimum @1437nm

wl of inflection point on right side of local minimum @1461nm

Local maxima

maximum difference of local maximum @951nm

maximum difference of local maximum @1052nm

maximum difference of local maximum @1256nm

wl of inflection point on right side of local maximum @1285nm

wl = wavelength

Additional file 8. Selection of feature set with a floating search. The number of spectral features was further reduced by performing a floating feature search with the features that were significantly different between healthy tissue and IC or DCIS but not significant between IC and DCIS. This floating search was repeated 100 times that resulted in 100 sets of features with a different number of features in it. The number of features in a set differed between 2 and 40. To test the performance with each number of features, classification models were developed with all possible combinations of a Thresmaxcon and Thresmaxfat ranging between 0% and 50% and one of the set of features with 2 to 40 features in it. The performance (MCC, sensitivity, and specificity) was averaged over all models and seemed to reach an optimum at approximately 16 features (results not presented). These features were further used in the remainder of this study.