Supplementary Table 1: List of the Quantitative Parameters

| Parameters | Definition |
| --- | --- |
| Clinical factors |  |
| d (mm) | Depth: vertical distance from the skin surface to the top of the lesion shown in the B-mode |
| s (mm) | Mass size: the largest dimension shown in the B-mode |
| SWE parameters |  |
| E (kPa) | Shear wave elasticity (Emean, Emax) |
| SWV (m/s) | Shear wave velocity (SWVmean, SWVmax) |
| fmass (Hz) | Ratio of the minimum SWV and the lesion diameter (fmass = 1000SWVmin/s) |
| HDMI parameters |  |
| NV | Number of vessel segments [20] |
| NB | Numbers of branch points [20] |
| VD | Vessel density [20] |
| VDR | Vessel density ratio: ratio of the geometric area of vessel segments to the geometric area of the associated lesion’s region of interest [38]. |
| SVP | Spatial vascularity pattern: it describes the distribution pattern of microvessels concentrated peripherally (peritumoral vascularization) or inside the lesion (intratumoral vascularization), SVP is calculated by VDR. If VDR < 1, SVP = 0, meaning a more peripherally concentrated vessel distribution. If VAD > 1, SVP = 1, meaning a more centrally concentrated vessel distribution [38]. |
| D (mm) | Vessel diameter (Dmean, Dmax): vessel diameter is two times of the minimum distance between the vessel centerline and the vessel border [20]. |
| τ | Vessel tortuosity metrics (τmean, τmax): determined by Distance metric (DMmean, DMmax): that measures vascular tortuosity [20]. |
| BA (°) | Bifurcation angle: Refers to the angle between two daughter vessels. If NB = 0, BA = 180° [32-34]. |
| MD | Murray’s deviation (MDmean, MDmax): diameter mismatch, defined as the deviation from Murray's law, increases in the vasculature network of malignant tumors. If NB = 0, MD = 1 [29-31]. |
| mvFD | Microvessel fractal dimension: a unitless geometrical feature that can be calculated by the box counting method to quantify the structural complexity of tumor vessels [30]. |

Note ‒ Subscript mean, min and max indicate the corresponding mean, minimum and maximum value, respectively. HDMI, non-contrast-enhanced ultrasound microvasculature imaging. SWE, shear wave elastography.