Additional data to:

Application of response surface methodology for optimization of metal-organic framework based pipette-tip solid phase extraction of organic dyes from seawater and their determination with HPLC

Sayyed Hossein Hashemi1, Massoud Kaykhaii2,*, Ahmad Jamali Keikha3, Elahe Mirmoradzehi1 and Ghasem Sargazi4

1Department of Marine Chemistry, Faculty of Marine Science, Chabahar Maritime University, Chabahar, Iran. Email: sayyedhossein.hashemi62@gmail.com

2Department of Chemistry, Faculty of Sciences, University of Sistan and Baluchestan, Zahedan 98155-674, Iran. Email: kaykhaii@chem.usb.ac.ir; Tel: +98(54)33446413; Fax: +98(54)33431067

3Department of Mechanical Engineering, Faculty of Marine Engineering, Chabahar Maritime University, Chabahar, Iran. Email: a.j.keikha@cmu.ac.ir

4Department of Nano Chemistry, Graduate University of Advanced Technology, Kerman, Iran.

Email: g.sargazi@gmail.com

Table S1 Box-Behnken design observed and predicted values

| A | B | C | D | Peak area obtained (MG) | Peak area predicted (MG) | Error% (MG) | Peak area obtained (MO) | Peak area predicted (MO) | Error% (MO) | Peak area obtained (RB) | Peak area predicted (RB) | Error% (RB) | Peak area obtained (AR) | Peak area predicted (AR) | Error% (AR) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| -1 | -1 | 0 | 0 | 29694 | 31786.97 | -7.05 | 22758 | 21488.2 | 5.58 | 16473 | 12524 | 23.97 | 17894 | 14631.07 | 18.23 |
| -1 | 0 | -1 | 0 | 35421 | 30864.84 | 12.86 | 30859 | 29658.2 | 3.89 | 21573 | 20486 | 5.04 | 22379 | 21531.04 | 3.79 |
| -1 | 0 | 0 | -1 | 34583 | 30031.52 | 13.16 | 23573 | 24670.8 | -4.66 | 17583 | 17706 | 0.70 | 15739 | 18071.9 | -14.82 |
| -1 | 0 | 0 | +1 | 38732 | 35240.91 | 9.01 | 25696 | 28241.6 | -9.91 | 25735 | 25807 | 0.28 | 17936 | 19112.9 | -6.56 |
| -1 | 0 | +1 | 0 | 37521 | 34258.88 | 8.69 | 32474 | 32018.8 | 1.40 | 23473 | 24087 | 2.62 | 23026 | 21452.12 | 6.84 |
| -1 | +1 | 0 | 0 | 29934 | 30677.69 | -2.48 | 21683 | 21202.5 | 2.22 | 10945 | 15133 | 38.26 | 12947 | 14420.38 | -11.38 |
| 0 | -1 | -1 | 0 | 34572 | 32545.93 | 5.86 | 34857 | 36694.3 | -5.27 | 25684 | 25677 | 0.03 | 32749 | 41181.4 | -25.75 |
| 0 | -1 | 0 | -1 | 33274 | 30231.46 | 9.14 | 29684 | 29241.0 | 1.49 | 24583 | 30627 | 24.59 | 38987 | 39358.52 | -0.95 |
| 0 | -1 | 0 | +1 | 40782 | 34427.51 | 15.58 | 36467 | 34254.6 | 6.07 | 29846 | 31623 | 5.95 | 34572 | 37599.02 | -8.76 |
| 0 | -1 | +1 | 0 | 36291 | 31975.82 | 11.89 | 35935 | 39767.4 | -10.66 | 31946 | 31937 | 0.03 | 36989 | 47067.47 | -27.25 |
| 0 | 0 | -1 | -1 | 24752 | 30155.34 | -21.83 | 38958 | 40704.0 | -4.48 | 34372 | 35037 | 1.93 | 55483 | 48034.71 | 13.42 |
| 0 | 0 | -1 | +1 | 28362 | 32337.42 | -14.02 | 65793 | 69170.1 | -5.13 | 42846 | 43138 | 0.68 | 58952 | 50800.66 | 13.83 |
| 0 | 0 | 0 | 0 | 54738 | 54835.44 | -0.18 | 71386 | 74783.8 | -4.76 | 55674 | 54877 | 1.43 | 74837 | 77240.75 | -3.21 |
| 0 | 0 | 0 | 0 | 56835 | 54835.44 | 3.52 | 74082 | 74783.8 | -0.95 | 53683 | 54877 | 2.22 | 78593 | 77240.75 | 1.72 |
| 0 | 0 | 0 | 0 | 52952 | 54835.44 | -3.56 | 72046 | 74783.8 | -3.80 | 56853 | 54877 | 3.48 | 75841 | 77240.75 | -1.85 |
| 0 | 0 | 0 | 0 | 57483 | 54835.44 | 4.61 | 79472 | 74783.8 | 5.90 | 52736 | 54877 | 4.06 | 76893 | 77240.75 | -0.45 |
| 0 | 0 | 0 | 0 | 51957 | 54835.44 | -5.54 | 77539 | 74783.8 | 3.55 | 55472 | 54877 | 1.07 | 80482 | 77240.75 | 4.03 |
| 0 | 0 | +1 | -1 | 28942 | 29477.21 | -1.85 | 60573 | 57053.0 | 5.81 | 43034 | 38638 | 10.22 | 57853 | 50878.96 | 12.05 |
| 0 | 0 | +1 | +1 | 33842 | 34711.12 | -2.57 | 63793 | 58640.0 | 8.08 | 44394 | 46739 | 5.28 | 59835 | 52354.98 | 12.50 |
| 0 | +1 | -1 | 0 | 28842 | 26524.2 | 8.04 | 32583 | 33862.3 | -3.93 | 28945 | 28938 | 0.02 | 37592 | 37908.63 | -0.84 |
| 0 | +1 | 0 | -1 | 26857 | 26258.92 | 2.23 | 28683 | 27286.1 | 4.87 | 27386 | 26131 | 4.58 | 31863 | 30181.44 | 5.28 |
| 0 | +1 | 0 | +1 | 34742 | 29841.9 | 14.10 | 35684 | 32186.1 | 9.80 | 46859 | 41337 | 11.78 | 33821 | 34541.35 | -2.13 |
| 0 | +1 | +1 | 0 | 33852 | 29309.25 | 13.42 | 33786 | 36773.8 | -8.84 | 45295 | 45286 | 0.02 | 35382 | 36220.25 | -2.37 |
| + 1 | -1 | 0 | 0 | 28583 | 29945.48 | -4.77 | 20483 | 20810.7 | -1.60 | 18435 | 14538 | 21.14 | 30752 | 20594.84 | 33.03 |
| + 1 | 0 | -1 | 0 | 32953 | 28466.86 | 13.61 | 29952 | 27393.6 | 8.54 | 22392 | 22500 | 0.48 | 21753 | 24101.18 | -10.79 |
| + 1 | 0 | 0 | -1 | 29436 | 26491.7 | 10.00 | 22683 | 22855.9 | -0.76 | 20943 | 19721 | 5.84 | 17532 | 21538.1 | -22.85 |
| + 1 | 0 | 0 | +1 | 31031 | 28880.8 | 6.93 | 24847 | 26114.7 | -5.10 | 26826 | 27821 | 3.71 | 19586 | 22345.19 | -14.09 |
| + 1 | 0 | +1 | 0 | 30261 | 26609.1 | 12.07 | 30957 | 28946.3 | 6.50 | 24692 | 26101 | 5.71 | 24783 | 26568.99 | -7.21 |
| + 1 | +1 | 0 | 0 | 19953 | 21139.94 | -5.95 | 18494 | 19323.1 | -4.48 | 14583 | 17147 | 17.58 | 16052 | 14344.41 | 10.64 |

Table S2 ANOVA for preconcentration of dyes

| Source | Sum of Squares | df | Mean Square | F Value | p-value Prob > F | % PC= (SS/ ∑ SS) × 100 [33] |
| --- | --- | --- | --- | --- | --- | --- |
| For MG |  |  |  |  |  |  |
| Model | 1.89 × 1019 | 14 | 1.35 × 1018 | 5.96 | < 0.0001 |  |
| A-pH | 2.77 × 1017 | 1 | 2.77 × 1017 | 1.22 | < 0.0001 | 0.95 |
| B-Volume of Eluent | 2.02 × 1017 | 1 | 2.02 × 1017 | 0.89 | 0.51 | 0.69 |
| C-Extraction Cycles | 1.06 × 1016 | 1 | 1.06 × 1016 | 0.05 | 0.30 | 0.036 |
| D-Elution Cycles | 1.67 × 1017 | 1 | 1.67 × 1017 | 0.74 | 0.030 | 0.57 |
| AB | 3.62 × 1016 | 1 | 3.62 × 1016 | 0.16 | 0.044 | 0.12 |
| AC | 2.61 × 1016 | 1 | 2.61 × 1016 | 0.11 | 0.82 | 0.89 |
| AD | 1.08 × 1016 | 1 | 1.08 × 1016 | 0.05 | 0.0031 | 0.037 |
| BC | 9.24 × 1015 | 1 | 9.24 × 1015 | 0.04 | 0.22 | 0.032 |
| BD | 1.24 × 1015 | 1 | 1.24 × 1015 | 0.005 | 0.75 | 4.25 × 10-3 |
| CD | 9.96 × 1015 | 1 | 9.96 × 1015 | 0.04 | 0.40 | 3.41 × 10-2 |
| A^2 | 7.73 × 1018 | 1 | 7.73 × 1018 | 34.11 | 0.19 | 26.50 × 10 |
| B^2 | 7.73 × 1018 | 1 | 7.73 × 1018 | 34.12 | 0.47 | 26.50 × 10 |
| C^2 | 6.54 × 1018 | 1 | 6.54 × 1018 | 28.88 | 0.64 | 22.40 × 10 |
| D^2 | 6.43 × 1018 | 1 | 6.43 × 1018 | 28.37 | 0.76 | 22.00 × 10 |
| Residual | 3.17 × 1018 | 14 | 2.27 × 1017 |  | 0.84 |  |
| Lack of Fit | 2.9 × 1018 | 10 | 2.9 × 1017 | 4.23 | 0.53 |  |
| Pure Error | 2.74 × 1017 | 4 | 6.85 × 1016 |  | 0.72 |  |
| Cor Total | 2.21 × 1019 | 28 |  |  | 0.53 |  |
| For MO |  |  |  |  |  |  |
| Model | 3.92 × 10-9 | 14 | 2.8 × 10-10 | 44.21 | < 0.0001 |  |
| A-pH | 2.8 × 10-11 | 1 | 2.8 × 10-11 | 4.41 | 0.05 | 0.63 |
| B-Volume of Eluent | 1.4 × 10-11 | 1 | 1.4 × 10-11 | 2.21 | 0.16 | 0.313 |
| C-Extraction Cycles | 1.48 × 10-11 | 1 | 1.48 × 10-11 | 2.34 | 0.15 | 0.331 |
| D-Elution Cycles | 8.4 × 10-11 | 1 | 8.4 × 10-11 | 13.26 | 0.003 | 1.88 |
| AB | 2.36 × 10-12 | 1 | 2.36 × 10-12 | 0.37 | 0.55 | 0.528E-02 |
| AC | 6.96 × 10-14 | 1 | 6.96 × 10-14 | 0.011 | 0.92 | 1.56 × 10-3 |
| AD | 2.8 × 10-14 | 1 | 2.8 × 10-14 | 0.004 | 0.95 | 6.26 × 10-4 |
| BC | 1.35 × 10-14 | 1 | 1.35 × 10-14 | 0.002 | 0.96 | 3.02 × 10-4 |
| BD | 8.24 × 10-14 | 1 | 8.24 × 10-14 | 0.013 | 0.91 | 1.84 × 10-3 |
| CD | 2.32 × 10-11 | 1 | 2.32 × 10-11 | 3.66 | 0.08 | 0.519 |
| A^2 | 2.82 × 10-9 | 1 | 2.82 × 10-9 | 445.37 | < 0.0001 | 63.1 |
| B^2 | 1.3 × 10-9 | 1 | 1.3 × 10-9 | 204.67 | < 0.0001 | 29.1 |
| C^2 | 3.54 × 10-13 | 1 | 3.54 × 10-13 | 0.056 | 0.82 | 7.92 × 10-3 |
| D^2 | 1.8 × 10-10 | 1 | 1.8 × 10-10 | 28.35 | 0.0001 | 4.03 |
| Residual | 8.87 × 10-11 | 14 | 6.34 × 10-12 |  |  |  |
| Lack of Fit | 8.72 × 10-11 | 10 | 8.72 × 10-12 | 22.84 | 0.004 |  |
| Pure Error | 1.53 × 10-12 | 4 | 3.82 × 10-13 |  |  |  |
| Cor Total | 4.01 × 10-9 | 28 |  |  |  |  |
| For RB |  |  |  |  |  |  |
| Model | 5.27 × 109 | 12 | 4.39 × 108 | 41.61 | < 0.0001 |  |
| A-pH | 12178660 | 1 | 12178660 | 1.15 | 0.30 | 0.19 |
| B-Volume of Eluent | 13613762 | 1 | 13613762 | 1.29 | 0.27 | 0.21 |
| C-Extraction Cycles | 25956012 | 1 | 25956012 | 2.46 | 0.14 | 0.40 |
| D-Elution Cycles | 1.97 × 108 | 1 | 1.97 × 108 | 18.64 | 0.0005 | 3.02 |
| BC | 25441936 | 1 | 25441936 | 2.41 | 0.14 | 0.39 |
| BD | 50481025 | 1 | 50481025 | 4.78 | 0.04 | 0.77 |
| A^2 | 4.01 × 109 | 1 | 4.01 × 109 | 379.41 | < 0.0001 | 61.40 |
| B^2 | 1.5 × 109 | 1 | 1.50 × 109 | 141.68 | < 0.0001 | 23.00 |
| C^2 | 2.94 × 108 | 1 | 2.94 × 108 | 27.82 | < 0.0001 | 4.50 |
| D^2 | 3.42 × 108 | 1 | 3.42 × 108 | 32.37 | < 0.0001 | 5.24 |
| B^2C | 39562608 | 1 | 39562608 | 3.75 | 0.07 | 60.6 |
| BC^2 | 21629611 | 1 | 21629611 | 2.05 | 0.17 | 33.1 |
| Residual | 1.69 × 108 | 16 | 10560376 |  |  |  |
| Lack of Fit | 1.58 × 108 | 12 | 13171909 | 4.83 | 0.07 |  |
| Pure Error | 10903109 | 4 | 2725777 |  |  |  |
| Cor Total | 5.44 × 109 | 28 |  |  |  |  |
| For AR |  |  |  |  |  |  |
| Model | 0.68 | 14 | 0.048 | 16.33 | < 0.0001 |  |
| A- pH | 0.006 | 1 | 0.0060 | 2.03 | 0.18 | 0.74 |
| B-Volume of Eluent | 0.007 | 1 | 0.0074 | 2.51 | 0.13 | 0.91 |
| C-Extraction Cycles | 0.0005 | 1 | 0.0005 | 0.17 | 0.69 | 0.06 |
| D-Elution Cycles | 0.0005 | 1 | 0.00047 | 0.16 | 0.70 | 0.06 |
| AB | 0.002 | 1 | 0.0021 | 0.72 | 0.41 | 0.26 |
| AC | 0.00019 | 1 | 0.0002 | 0.06 | 0.80 | 0.02 |
| AD | 6.18 × 10-6 | 1 | 6.18 × 10-6 | 0.002 | 0.96 | 0.0008 |
| BC | 0.00067 | 1 | 0.0007 | 0.23 | 0.64 | 0.083 |
| BD | 0.00066 | 1 | 0.0007 | 0.22 | 0.64 | 0.080 |
| CD | 1.61 × 10-5 | 1 | 1.61 × 10-5 | 0.005 | 0.94 | 0.0020 |
| A^2 | 0.60 | 1 | 0.60 | 201.25 | < 0.0001 | 73.05 |
| B^2 | 0.14 | 1 | 0.14 | 48.45 | < 0.0001 | 17.59 |
| C^2 | 0.013 | 1 | 0.01 | 4.35 | 0.06 | 1.58 |
| D^2 | 0.045 | 1 | 0.04 | 15.33 | 0.002 | 5.56 |
| Residual | 0.04 | 14 | 0.003 |  |  |  |
| Lack of Fit | 0.04 | 10 | 0.004 | 51.80 | 0.0009 |  |
| Pure Error | 0.0003 | 4 | 7.94 × 10-5 |  |  |  |
| Cor Total | 0.72 | 28 |  |  |  |  |

*Correspondence: kaykhaii@chem.usb.ac.ir

2Department of Chemistry, Faculty of Sciences, University of Sistan and Baluchestan, Zahedan 98155-674, Iran.

Tel: +98(54)33446413, Fax: +98(54)33431067