Evaluation of an online, real-time, soft-photon ionisation (SPI) time-of-flight mass spectrometer for mainstream tobacco smoke analysis – Supplementary Figures

Jenni Hawke1, Graham Errington1, John McAughey1, and Matthias Bente von Frowein2

Figure S1

Figure S1. Linear regression of the calculated and measured yields of acetaldehyde, acetone, benzene, 2-butanone, isoprene and toluene, demonstrating the linearity of the LM2X-TOFMS.

Table S1

| Table S1. Ruggedness test plan |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Trial | Capillary | Ferrule | Day | Time | Run |
| Day 1 |  |  |  |  |  |
| 1 | New | New | 1 | am | 1 |
| 1 | Cut 1 | Same | 1 | am | 2 |
| 1 | Cut 2 | Same | 1 | am | 3 |
| 1 | Cut 3 | Same | 1 | am | 4 |
| 1 | No cut | Same | 1 | am | 5 |
| 2 | New | New | 1 | pm | 6 |
| 2 | Cut 1 | Same | 1 | pm | 7 |
| 2 | Cut 2 | Same | 1 | pm | 8 |
| 2 | Cut 3 | Same | 1 | pm | 9 |
| 2 | No cut | Same | 1 | pm | 10 |
| Day 2 |  |  |  |  |  |
| 3 | New | New | 2 | am | 1 |
| 3 | Cut 1 | Same | 2 | am | 2 |
| 3 | Cut 2 | Same | 2 | am | 3 |
| 3 | Cut 3 | Same | 2 | am | 4 |
| 3 | No cut | Same | 2 | am | 5 |
| 4 | New | New | 2 | pm | 6 |
| 4 | Cut 1 | Same | 2 | pm | 7 |
| 4 | Cut 2 | Same | 2 | pm | 8 |
| 4 | Cut 3 | Same | 2 | pm | 9 |
| 4 | No Cut | Same | 2 | pm | 10 |
| Day 3 |  |  |  |  |  |
| 5 | New | New | 3 | am | 1 |
| 5 | Cut 1 | Same | 3 | am | 2 |
| 5 | Cut 2 | Same | 3 | am | 3 |
| 5 | Cut 3 | Same | 3 | am | 4 |
| 5 | No cut | Same | 3 | am | 5 |
| 6 | New | New | 3 | pm | 6 |
| 6 | Cut 1 | Same | 3 | pm | 7 |
| 6 | Cut 2 | Same | 3 | pm | 8 |
| 6 | Cut 3 | Same | 3 | pm | 9 |
| 6 | No cut | Same | 3 | pm | 10 |