Supplementary Tables

Table S1. Optimization of chromatographic conditions for the determination of studied drugs by the proposed micellar UPLC method

| Parameter |  | No of theoretical plates (N) |  | Tailing factor (T) |  | Resolution Factor (Rs) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MLK | FEX | MLK | FEX | MLK | FEX |
| Conc of SDS | 0.01 0.02 0.03 0.04 | 7214 7260 7271 7201 | 6710 6796 6721 6786 | 1.13 1.19 1.12 1.12 | 1.13 1.14 1.17 1.19 | 4.12 4.27 4.07 4.15 | 4.87 4.92 4.84 4.85 |
| % of pentanol (% v/v) | 5 10 15 20 | 7258 7168 7260 7111 | 6753 6745 6796 6674 | 1.12 1.09 1.19 1.11 | 1.11 1.15 1.14 1.12 | 4.16 4.24 4.27 4.25 | 4.79 4.82 4.92 4.85 |
| pH | 3 3.5 4 4.5 | 7214 7260 7201 7101 | 6670 6796 6710 6646 | 1.12 1.19 1.11 1.12 | 1.13 1.14 1.13 1.13 | 4.12 4.27 4.17 4.15 | 4.87 4.92 4.90 4.90 |
| Conc of buffer | 0.02 0.03 0.04 0.05 | 7212 7223 7211 7260 | 6710 6766 6770 6796 | 1.13 1.14 1.12 1.19 | 1.11 1.14 1.13 1.14 | 3.97 4.14 4.10 4.27 | 4.87 4.82 4.84 4.92 |
| Flow rate | 0.6 0.8 1.0 1.2 | 7224 7125 7260 7161 | 6710 6576 6796 6636 | 1.13 1.15 1.19 1.12 | 1.13 1.14 1.14 1.08 | 4.12 4.23 4.27 4.15 | 4.68 4.82 4.92 4.55 |
| Column temp. | 30 40 50 | 7124 7260 7151 | 6621 6796 6672 | 1.13 1.19 1.12 | 1.12 1.14 1.13 | 4.07 4.27 3.97 | 4.63 4.92 4.58 |

| Parameters | Obtained value |  | Reference value |
| --- | --- | --- | --- |
|  | MLK | FEX |  |
| Retention time (Rt) | 3.54 | 1.67 | -- |
| Number of theoretical plates (N) | 7260 | 6796 | N>2000 |
| Resolution factor (Rs) | 4.92 |  | ≥2 |
| Tailing factor (T) | 1.19 | 1.14 | ≤2 |

Table S2. System suitability data for the proposed micellar UPLC method

Table S3: Determination of MLK and FEX in laboratory-prepared mixtures by the proposed methods.

| Lab prepared mixture (µg mL-1) |  | Micellar UPLC method |  | Lab prepared mixture (µg mL-1) |  | Spectroscopic methods |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Second derivative 2D |  | Third derivative 3D |  |  |  | Ratio Difference RD |  |
| MLK | FEX | MLK | FEX | MLK | FEX | MLK | FEX | MLK |  |  | FEX | MLK | FEX |
|  |  | 230 nm |  |  |  | 341 nm | 213.6 nm | 295 nm | 336.4 nm | 346 nm | 235 nm | ΔP 250-245 nm | ΔP 227-217 nm |
| 10 | 10 | 100.32 | 101.21 | 10 | 10 | 101.62 | 100.58 | 98.82 | 99.40 | 101.74 | 99.12 | 101.80 | 100.70 |
| 20 | 20 | 97.85 | 99.54 | 20 | 10 | 101.40 | 99.74 | 102.05 | 100.90 | 98.15 | 98.64 | 101.77 | 100.42 |
| 2 | 14 | 102.12 | 99.76 | 10 | 20 | 98.15 | 98.45 | 100.76 | 99.61 | 101.33 | 101.56 | 98.78 | 99.52 |
| 5 | 60 | 98.26 | 100.65 | 3 | 36 | 101.30 | 99.41 | 98.93 | 100.09 | 99.83 | 100.33 | 101.42 | 100.30 |
| 20 | 240 | 98.34 | 100.87 | 4 | 48 | 98.72 | 100.64 | 101.01 | 101.00 | 101.08 | 99.9 | 102.04 | 99.63 |
|  |  |  |  | 5 | 60 | 98.65 | 101.39 | 100.48 | 99.34 | 100.72 | 101.87 | 100.08 | 98.85 |
| Mean % ± SD |  | 98.42 ±1.68 | 100.40 ±722 | Mean % ± SD |  | 99.97 ±1.62 | 100.04 ±1.05 | 100.34 ±1.25 | 100.06 ±0.74 | 100.48 ±1.31 | 100.24 ±1.29 | 100.98 ±1.29 | 99.90 ± 0.69 |

-Reported method (Mustafa et al., 2017) for determination of Montelukast sodium nm

Supplementary Figure

Fig. S1: (A) Ratio spectra of MLK 3- 50 µg mL-1 using 15 µg mL-1 FEX as divisor. (B) Ratio spectra of FEX 3- 60 µg mL-1 using 5 µg mL-1 MLK as divisor

Fig. S2: Optimization chromatograms of selection of column demonstrating the separation of 4 μg mL-1 MLK and 48 μg mL-1 FEX laboratory-prepared mixture. (a) Kinetex C18 (100 x 4.6 mm, 2.6 μm), (b) Zorbax Eclipse XDB-C18 (150 x 4.6 mm, 5 μm), and (c) Monolithic RP-C18 (100 x 4.6 mm).

Fig. S3: Optimization chromatograms of selection of detection wavelength demonstrating the separation of 4 μg mL-1 MLK and 48 μg mL-1 FEX laboratory-prepared mixture. (a) 200 nm, (b) 215 nm, (c) 245 nm, and (d) 260 nm.

Fig. S4: Optimization chromatograms of selection of mobile phase organic modifiers demonstrating the separation of 4 μg mL-1 MLK and 48 μg mL-1 FEX laboratory-prepared mixture. (a) methanol, (b) ethanol, (c) acetonitrile, (d) n-propanol, and (e) n-butanol

Fig. S5. Typical NEMI pictograms.

.

Fig. S6. The ComplexGAPI pictogram, with the original GAPI pictogram greyed out in the background, and particular fields of the added hexagonal glyph grouped and colour-coded for clarity.

Fig. S7. Analytical greenness report sheets for the proposed UPLC method by AGREE tool.

Fig. S8. Analytical greenness report sheets for the reported UPLC method [25] by AGREE tool.

Fig. S9. Analytical greenness report sheets for the proposed spectrophotometric method by AGREE tool.

Fig. S10. Analytical greenness report sheets for the reported spectrophotometric method [15] by AGREE tool.

Fig. S11. Analytical greenness report sheets for the reported spectrophotometric method [16] by AGREE tool.

Fig. S12. Analytical greenness report sheets for the reported spectrophotometric method [17] by AGREE tool.

Fig. S13. Analytical greenness report sheets for the reported spectrophotometric method [18] by AGREE tool.

Fig. S14. Analytical greenness report sheets for the reported spectrophotometric method [19] by AGREE tool.

Fig. S15. Analytical greenness report sheets for the reported spectrophotometric method [20] by AGREE tool.

Fig. S16. Comparison of the redness, greenness, blueness, and whiteness profiles of the proposed and reported UPLC methods, obtained by the RGB 12 algorithm.

Fig. S17. Comparison of the redness, greenness, blueness, and whiteness profiles of the proposed and reported spectrophotometric methods, obtained by the RGB 12 algorithm.