Supplementary Table 1. Comparison of reported HPLC method with the proposed HPLC method.

| Parameters | Proposed HPLC method | Reported HPLC method |
| --- | --- | --- |
| Analytical column | Phenomenex Luna C18 column | Kromasil C18 |
| Mobile phase | Acetonitrile: phosphate buffer (maintained at pH 6.8 using OPA and TEA) in a 40:60 v/v ratio | Acetonitrile: Phosphate buffer (60:40 v/v) |
| Diluent | Methanol | Not mentioned |
| FR | 0.8 mL/min | 1 mL/min |
| Run time | 15 min | 30 min |
| Injection volume | 10 µL | 20 µL |