Supplementary Table 1. Comparison of reported HPLC method with the proposed HPLC method.
	Parameters
	Proposed HPLC method
	Reported HPLC method

	Analytical column
	Phenomenex Luna C18 column
	Kromasil C18

	Mobile phase
	Acetonitrile: phosphate buffer (maintained at pH 6.8 using OPA and TEA) in a 40:60 v/v ratio
	Acetonitrile: Phosphate buffer (60:40 v/v)

	Diluent
	Methanol
	Not mentioned

	FR
	0.8 mL/min
	1 mL/min

	Run time
	15 min
	30 min

	Injection volume
	10 µL
	20 µL





