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Complete list of adducts used for quantification of enzyme reaction products and their corresponding retention times. *the m/z 443 appears as a pseudo-ion derived from m/z 302 as it fragments to m/z 302 only.
	Analyte
	m/z [M+Na]+
	m/z [M+NH4]+
	m/z [2M+Na+NH4]2+
	m/z [M+Na+NH4]2+
	m/z [M+H]+
	Retention time (min)

	MeGlcAXyl2
	495
	490
	492
	-
	-
	9.5-10

	MeGlcAXyl3
	627
	622
	624
	-
	-
	12-13

	Reduced MeGlcAXyl3
	629
	624
	-
	-
	607
	15.5-16.5

	MeGlcAXyl4
	759
	754
	-
	388
	-
	11.25-11.7

	Xyl2
	305
	300
	302 (443*)
	-
	-
	6.25-7

	Xyl3
	437
	432
	434
	-
	-
	8.75-9.75

	Xyl4
	569
	564
	566
	-
	-
	10.9-11.7
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