# Additional file 1

Table S1

Calibration curves of acetyl-CoA, butanoyl-CoA, and free CoA, was acquired by using reversed phase- ion pairing- liquid chromatography- mass spectrometry (RP-IP-LC/QqQ-MS) system. The horizontal axis is the area ratio of monoisotopic peak to uniformly 13C-labeled peak and vertical axis is naturally labeled standard amount in pmol/tube. U-13C / (U-13C+U-12C) means the ratio of U-13C to (U-13C + U-12C) peak area in internal standard [18].

| Metabolite | Range [pmol/tube] | Equation | R2 | U-13C / (U-13C+U-12C) |
| --- | --- | --- | --- | --- |
| Acetyl-CoA | 1 ~ 243 | y = 7.2294x + 6.2919 | 0.992 | 1.00 |
| Butanoyl-CoA | 1 ~ 243 | y = 42.733x + 6.4882 | 0.992 | 0.98 |
| CoA | 0.25 ~ 8 | y = 0.225x + 0.9567 | 0.938 | 0.91 |

Table S2 Multiple reaction monitoring (MRM) transitions for widely targeted analysis in RP-IP-LC/QqQ-MS system

| Metabolite | Precursor ion m/z | Product ion m/z | Retention Time (minute) | Target Collision Energy (V) |
| --- | --- | --- | --- | --- |
| Arginine | 173.05 | 131.05 | 1.272 | 15 |
| Lysine | 145.1 | 97.05 | 1.275 | 13 |
| Histidine | 154.05 | 93 | 1.277 | 21 |
| 4-Aminobutyrate | 162.05 | 102 | 1.465 | 8 |
| Serine | 104.05 | 74.1 | 1.653 | 16 |
| Asparagine | 131.05 | 113.05 | 1.659 | 15 |
| Glutamine | 145.1 | 127.05 | 1.691 | 18 |
| Threonine | 118.05 | 74.05 | 1.702 | 16 |
| Hydroxyproline | 190.05 | 130.05 | 1.709 | 10 |
| Hexose | 179.05 | 89 | 1.743 | 19 |
| 2-Aminobutyrate | 162.05 | 102 | 1.817 | 8 |
| Cysteine | 239.05 | 120.1 | 1.825 | 13 |
| Trehalose | 341.05 | 89.1 | 1.885 | 23 |
| Proline | 174.05 | 114 | 1.898 | 10 |
| Sucrose | 341.05 | 89.1 | 2.074 | 23 |
| Valine | 176.05 | 116.05 | 2.201 | 10 |
| Cytidine | 302.05 | 242 | 2.337 | 10 |
| Pyridoxamine-5Phospate | 247.05 | 230 | 2.453 | 11 |
| Methionine | 148.05 | 47.05 | 2.767 | 14 |
| Guanine | 150.05 | 133.05 | 3.126 | 21 |
| Hypoxanthine | 135.05 | 92 | 3.546 | 28 |
| Tyrosine | 180.05 | 163.05 | 3.554 | 18 |
| Adenine | 134.1 | 107.05 | 3.589 | 22 |
| Isoleucine | 190.05 | 130.05 | 3.638 | 10 |
| Leucine | 190.05 | 130.05 | 3.963 | 10 |
| Xanthine | 151.05 | 108.05 | 3.978 | 18 |
| Glutamate | 146.05 | 102.05 | 4.284 | 15 |
| Uridine | 243.05 | 110.05 | 4.325 | 17 |
| Aspartate | 132.05 | 88.05 | 4.426 | 14 |
| Inosine | 267.05 | 135.05 | 4.566 | 23 |
| Thymine | 125.05 | 42 | 4.575 | 18 |
| Guanosine | 282.1 | 150.05 | 4.605 | 21 |
| Urate | 167.1 | 124.05 | 4.699 | 15 |
| Shikimate | 173.05 | 93 | 4.854 | 17 |
| Adenosine | 266.1 | 134.05 | 4.975 | 25 |
| Glycerate | 105.05 | 75.05 | 5.097 | 13 |
| Thymidine | 301.1 | 241 | 5.151 | 10 |
| Phenylalanine | 164.05 | 147.05 | 5.208 | 18 |
| Glycolate | 75.05 | 47.05 | 5.335 | 13 |
| Glyoxylate | 73 | 73 | 5.754 | 5 |
| G6P | 259.05 | 97 | 6.303 | 17 |
| Disaccharide-Phosphate | 421.1 | 79.05 | 6.372 | 40 |
| Mn6P | 259.05 | 97 | 6.535 | 17 |
| Sor6P | 261.05 | 97 | 6.593 | 23 |
| Pyroglutamate | 188.05 | 128 | 6.618 | 12 |
| Tryptophan | 203.1 | 116.05 | 6.675 | 18 |
| R5P | 229.05 | 97 | 6.691 | 13 |
| Succinic Semialdehyde | 101.05 | 57 | 6.697 | 13 |
| Lactate | 89.05 | 43 | 6.779 | 14 |
| S7P | 289.1 | 97 | 6.803 | 21 |
| F6P | 259.05 | 97 | 6.823 | 17 |
| Ara5P | 229.05 | 97 | 6.982 | 13 |
| G1P | 259.05 | 79.05 | 7.062 | 28 |
| -Glycerophosphate | 171.05 | 79.05 | 7.063 | 18 |
| TPP | 424.1 | 302.05 | 7.103 | 16 |
| NAD | 662.1 | 540.1 | 7.188 | 18 |
| GAP | 169.05 | 97 | 7.288 | 12 |
| Orotate | 155.05 | 111.05 | 7.301 | 14 |
| Ru5P | 229.05 | 97 | 7.459 | 13 |
| CMP | 322.1 | 79.05 | 7.488 | 28 |
| - Glycerophosphate | 171.05 | 79.05 | 7.597 | 18 |
| MEP | 215.05 | 79.05 | 7.623 | 27 |
| F1P | 259.05 | 97 | 7.651 | 17 |
| Pyruvate | 87.05 | 43 | 7.782 | 11 |
| R1P | 229.05 | 79.05 | 7.812 | 25 |
| UMP | 323.1 | 79.05 | 7.951 | 36 |
| AICAR | 337.1 | 79.05 | 8.001 | 37 |
| GMP | 362.1 | 79.05 | 8.031 | 26 |
| IMP | 347.05 | 79.05 | 8.049 | 40 |
| DHAP | 169.05 | 97 | 8.085 | 12 |
| TMP | 321.1 | 195.05 | 8.572 | 20 |
| AMP | 346.1 | 79.05 | 8.618 | 38 |
| Pantothenate | 218.05 | 88 | 8.814 | 17 |
| Nicotinate | 122.05 | 78 | 8.818 | 16 |
| cAMP | 328.1 | 134.05 | 9.143 | 27 |
| Succinate | 117.05 | 73 | 9.568 | 15 |
| Carbamoyl-P | 140.05 | 79.05 | 9.569 | 22 |
| Glutathione | 306.05 | 143.05 | 9.571 | 20 |
| Malate | 133.05 | 115 | 9.848 | 17 |
| UDP-Glu | 565.05 | 323.05 | 9.878 | 27 |
| XMP | 363.1 | 211.05 | 9.961 | 20 |
| CDP | 402.1 | 79.05 | 10.021 | 42 |
| Acetyl-P | 139 | 79.05 | 10.045 | 14 |
| 2OG | 145.1 | 101.05 | 10.046 | 10 |
| ADP-Glu | 588.05 | 346.05 | 10.069 | 23 |
| Fumarate | 115.05 | 71 | 10.128 | 10 |
| GDP | 442.1 | 79.05 | 10.131 | 45 |
| 6PGA | 275.05 | 177.05 | 10.154 | 16 |
| UDP | 403.1 | 159 | 10.176 | 28 |
| 3PGA | 185.05 | 97 | 10.181 | 16 |
| Shikimate-3P | 253.05 | 97 | 10.224 | 13 |
| NADH | 664.1 | 79.05 | 10.238 | 57 |
| NADP | 742.1 | 620.1 | 10.329 | 18 |
| ADP | 426.1 | 79.05 | 10.353 | 46 |
| SBP | 369.1 | 97 | 10.374 | 27 |
| Citrate | 191.05 | 87 | 10.399 | 18 |
| FBP | 339.05 | 97 | 10.423 | 18 |
| PEP | 167.05 | 79.05 | 10.477 | 15 |
| RuBP | 309.05 | 97 | 10.482 | 18 |
| HMBPP | 261.05 | 79.05 | 10.518 | 23 |
| Isocitrate | 191.05 | 73 | 10.568 | 22 |
| FMN | 455.1 | 97 | 10.593 | 27 |
| 2-Isopropylmalate | 175.05 | 115.05 | 10.603 | 18 |
| GTP | 522.1 | 159 | 10.706 | 33 |
| CTP | 482.1 | 159 | 10.729 | 36 |
| UTP | 483.1 | 159 | 10.759 | 36 |
| ATP | 506.1 | 159 | 10.801 | 40 |
| 1,3-BPG | 265.05 | 167.05 | 10.845 | 18 |
| FAD | 784.1 | 346.1 | 10.863 | 37 |
| PRPP | 389.1 | 177.05 | 10.948 | 21 |
| NADPH | 744.1 | 159.05 | 10.976 | 49 |
| PQQ | 329.1 | 241.05 | 11.051 | 15 |
| D-Camphorsulfonic acid | 231.1 | 80 | 11.055 | 32 |
| CoA | 766.1 | 408.1 | 11.105 | 30 |
| 3HB CoA | 852.1 | 772.1 | 11.109 | 41 |
| IPP,DMAPP | 245.05 | 79.05 | 11.123 | 27 |
| Malonyl-CoA | 852.1 | 808.1 | 11.125 | 27 |
| Acetyl-CoA | 808.1 | 408.1 | 11.147 | 37 |
| HMG-CoA | 910.1 | 408.1 | 11.148 | 48 |
| Crotonyl-CoA | 834.1 | 408.1 | 11.299 | 36 |
| Butanoyl-CoA | 836.1 | 408.1 | 11.373 | 37 |

Table S3 Annotated metabolites in widely targeted analysis (74 metabolites in samples were annotated using method for 121 metabolites MRM transitions, described in Table S2).

| Central metabolism | Nucleotides, nucleosides and nucleobases | Amino Acids | Others | Cofactors |
| --- | --- | --- | --- | --- |
| R5P | Cytidine | Arginine | Butanoyl-CoA | FMN |
| S7P | Adenine | Histidine | Shikimate-3P | NAD |
| F6P | Uridine | Serine | Nicotinate | NADP |
| FBP | Guanosine | Asparagine | Glutathione | FAD |
| R5P | Thymidine | Glutamate | DHAP | PQQ |
| Ru5P | ADP | Threonine | Lactate |  |
| Pyruvate | CDP | Cysteine | Pyroglutamate |  |
| Acetyl-CoA | UDP | Proline | Disaccharide-P |  |
| 3PGA | GDP | Threonine | Glycolate |  |
| 6PGA | UTP | Valine | Hexose |  |
| 1,3-BPG | ATP | Tyrosine | Sucrose |  |
| GAP | CTP | Aspartate |  |  |
| Glycerophosphate | GTP | Valine |  |  |
| Glycerophosphate | AMP | Phenylalanine |  |  |
| Orotate | TMP | Methionine |  |  |
| 2OG | XMP |  |  |  |
| Acetyl-P | UMP |  |  |  |
| Succinate | CMP |  |  |  |
| Malate | IMP |  |  |  |
| PEP | GMP |  |  |  |
| RuBP | UDP-Glu |  |  |  |
| (iso-) citrate |  |  |  |  |

Table S4 Multiple reaction monitoring (MRM) transitions for absolute quantification of CoA-related metabolites by using RP-IP-LC/QqQ-MS system [18].

| Metabolite | Precursor ion m/z of U-12C metabolite | Precursor ion m/z of U-13C metabolite | Product ion m/z of U-12C metabolite | Product ion m/z of U-13C metabolite | Target Collision Energy (V) |
| --- | --- | --- | --- | --- | --- |
| Acetyl-CoA | 808,1 | 831.1 | 408.1 | 418.1 | 15 |
| Butanoyl-CoA | 836.1 | 861.1 | 408.1 | 418.1 | 13 |
| CoA | 766.1 | 79 | 787.1 | 79 | 21 |