# Engineering Corynebacterium glutamicum to produce isopentenol from plant biomass hydrolysates.

Sasaki and Eng et al.

Supplementary Files.

- Additional File 1. Evaluation of Production Condition and C. glutamicum Properties as the Isopentenol Production Chassis.

- Additional File 2. Isopentenol Production in C. glutamicum Strains Cultivated in Rich vs. Minimal Media.

- Additional File 3. Impact of Initial Glucose and Nitrogen Concentrations On Isopentenol Production in C. glutamicum.

- Additional File 4. Analysis of Pathway Protein Abundance vs. Isopentenol Titer in Three Kinds of Media.

- Additional File 5. Determination of sugars and aromatics in hydrolysate by HPLC.

- Additional File 6. Strains and plasmids used in this Study.

- Additional File 7. Strain genotyping primers.

- Additional File 8. Supplementary Methods: Determination of sugars, organic acids and monomeric aromatics in the hydrolysate.

Additional Methods:

Determination of sugars, organic acids and monomeric aromatics in the hydrolysate.

Sugars and organic acids were quantified by HPLC using an Agilent Technologies 1200 series instrument equipped with an Aminex HPX-87H column (BioRad Laboratories, USA) and a refractive index detector. 4 mM sulfuric acid was used as mobile phase with a flow rate of 0.6 mL/min and a column temperature of 60°C. To quantify monomeric aromatics, the same instrument equipped with an Eclipse Plus Phenyl-hexyl column (250 mm length, 4.6 mm diameter, 5 µm particle size; Agilent Technologies, USA) kept at 50 ºC, and a diode array detector were used. The mobile phase was composed of 10 mM ammonium acetate in water (solvent A) and 10 mM ammonium acetate in acetonitrile 90% (solvent B), prepared from a stock solution of 100 mM ammonium acetate and 0.7% formic acid in water. The following mobile phase gradient profile was used: 30% B (0 min; 0.5 mL/min), 80% B (12 min; 0.5 mL/min), 100% B (12.1 min; 0.5 mL/min), 100% B (12.6 min; 1 mL/min), 30% B (12.8 min; 1 mL/min), 30% B (15.6 min; 1 mL/min). Prior to analysis, samples were filtered using 0.45 µm centrifuge filters and 5 µL sample injection volumes were used in all cases. The resulting peak areas were compared to calibration curves made with authentic standards.