Table S5. Analytical sensitivity and detection limit of the triplex cox1-based qPCR were assessed using a serial 10-fold dilution of pooled DNA of pooled DNA of D. immitis, D. repens and A. reconditum. PCR efficiency, slope, Y-intercept and correlation coefficient were generated to evaluate the qPCR reaction.

Additional file 7: Table S5. Analytical sensitivity of the triplex cox1-based qPCR using pooled DNA.

| Microfilaria load |  | D. immitis DNA |  |  | D. repens DNA |  |  | A. reconditum DNA |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Per qPCR reaction (mf/5µl of DNA) | Per milliliter of blood | Ct | FAM | SCRS | Ct | VIC | SCRS | Ct | Cy-5 | SCRS |
| 2.5 × 10+0 | 5.00 × 10+2 | 23.81 | 1387 | (E= 100.4%) (S=-3.312) (Y.int= 32.89) (R2=0.999) | 24.13 | 1590 | (E=103.7%) (S=-3.237) (Y.int=33.058) (R2=0.993) | 24.03 | 1405 | E=100.9%) (S=-3.30) (Y.int=33.19) (R2=0.996) |
| 2.5 × 10-1 | 5.00 × 10+1 | 27.41 | 1241 |  | 28.01 | 1852 |  | 27.94 | 1302 |  |
| 2.5 × 10-2 | 5.00 × 10+0 | 30.7 | 865 |  | 30.45 | 1614 |  | 30.9 | 1009 |  |
| 2.5 × 10-3 | 5.00 × 10-1 | 33.75 | 297 |  | 34.11 | 567 |  | 34.05 | 512 |  |
| 2.5 × 10-4 | 5.00 × 10-2 | 35.83 | 193 |  | 36.45 | 66.1 |  | 38.74 | 11.3 |  |
| Cut Off Value | // | 35 | 200 |  | 35 | 73.9 |  | 35 | 40.2 |  |
| Negative Control | // | // | 10.5 |  | // | 15 |  | // | 1.5 |  |

mf: Microfilaria, Ct: Cycle threshold, SCRS: Standard Curve Results Spreadsheet, E: Efficiency, S: Slope, Y.int: Y-intercept.