Table S6. Analytical sensitivity and detection limit of the triplex cox1-based qPCR were assessed using a serial 10-fold dilution of a single-species DNA of D. immitis and its Wolbachia. PCR efficiency, slope, Y-intercept and correlation coefficient were generated to evaluate the qPCR reaction.

Additional file 9: Table S6. Analytical sensitivity of the triplex cox1 and the duplex ftsZ-based qPCRs in detecting single-species DNA of D. immitis and its Wolbachia.

| Microfilaria load |  | D. immitis DNA |  |  | Wolbachia of D. immitis DNA |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Per qPCR reaction (mf/5µl of DNA) | Per milliliter of blood | Ct | E-RFU | SCRS | Ct | E-RFU | SCRS |
| 2.01 × 10+2 | 4,03 × 10+3 | 18.11 | 2383 | (E=104.8%) (S=-3.212) (Y.int= 31.172) (R^2=0.995) | 24.39 | 497 | (E=100.5%) (S=-3.309) (Y.int=35.98) (R^2=0.996) |
| 2.01 × 10+1 | 4,03 × 10+2 | 21.03 | 2591 |  | 27.11 | 450 |  |
| 2.01 × 10+0 | 4,03 × 10+1 | 24.66 | 2448 |  | 30.38 | 455 |  |
| 2.01 × 10-1 | 4,03 × 10+0 | 27.54 | 2006 |  | 33.74 | 272 |  |
| 2.01 × 10-2 | 4,03 × 10-1 | 29.23 | 1504 |  | 37.87 | 67 |  |
| 2.01 × 10-3 | 4,03 × 10-2 | 30.93 | 773 |  | 40.42 | 14.9 |  |
| 2.01 × 10-4 | 4,03 × 10-3 | 35.28 | 125 |  | N/A | N/A |  |
| 2.01 × 10-5 | 4,03 × 10-4 | 38.39 | 21 |  | N/A | N/A |  |
| Cut Off value | // | 35 | 158 |  | 38 | 30.5 |  |
| Negative Control | // | // | 8.68 |  | // | 5 |  |

mf: Microfilaria, Ct: Cycle threshold, N/A: No amplification, RFU: relative fluorescence unit, SCRS: Standard Curve Results Spreadsheet, E: Efficiency, S: Slope, Y.int: Y-intercept.