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Figure S1. Example results of lateral flow detection. a: positive result, b: negative result, c and d: undetermined results (weakly positive bands, indicated with arrows), require confirmation.
. 






Figure S2. Preliminary evaluation of DjinniChips with clinical samples. Four hundred microliters of elution buffer was added to each swab. Two hundred µl was used for DNA extraction with QIAamp DNA mini kit, eluted in 100 µl and tested by ddPCR. The remaining swab eluate was heat-lysed for 10 min at 95°C; 25 µl of the lysate was mixed with 25 µl reaction buffer (20 mM Tris-HCl, 10 mM (NH4)2SO4, 150 mM KCl, 2 mM MgSO4, 0.1% Tween® 20, 1% Triton X-100, pH 8.8) and loaded onto the chip. LAMP was performed for 35 min at 65°C on a flatbed heating block. 
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Figure S3. Preliminary evaluation of DjinniChips with QCMD panel. A Quality Control for Molecular Diagnostics (QCMD)-panel of Chlamydia trachomatis DNA samples was obtained via External Quality Assessment programme (https://www.qcmd.org; Glasgow, UK). A QCMD panel is a set of purified DNA samples from different  sources and of various concentrations. The samples were stored at -20°C prior testing. Ten microliters of each QCMD sample were mixed with 40 µl reaction buffer and loaded onto the DjinniChip. LAMP was performed for 35 min at 65°C on a flatbed heating block. 
[image: ]





Table S1. STARD 2015 Checklist

	
	Section & Topic
	No
	Item
	Reported on page #

	
	
	
	
	

	
	TITLE OR ABSTRACT
	
	
	

	
	
	1
	Identification as a study of diagnostic accuracy using at least one measure of accuracy
(such as sensitivity, specificity, predictive values, or AUC)
	P2

	
	ABSTRACT
	
	
	

	
	
	2
	Structured summary of study design, methods, results, and conclusions 
(for specific guidance, see STARD for Abstracts)
	P2

	
	INTRODUCTION
	
	
	

	
	
	3
	Scientific and clinical background, including the intended use and clinical role of the index test
	P3

	
	
	4
	Study objectives and hypotheses
	P3

	
	METHODS
	
	
	

	
	Study design
	5
	Whether data collection was planned before the index test and reference standard  were performed (prospective study) or after (retrospective study)
	P4

	
	Participants
	6
	Eligibility criteria 
	P4

	
	
	7
	On what basis potentially eligible participants were identified 
(such as symptoms, results from previous tests, inclusion in registry)
	P4

	
	
	8
	Where and when potentially eligible participants were identified (setting, location and dates)
	P4

	
	
	9
	Whether participants formed a consecutive, random or convenience series
	P4

	
	Test methods
	10a
	Index test, in sufficient detail to allow replication
	P5

	
	
	10b
	Reference standard, in sufficient detail to allow replication
	P4

	
	
	11
	Rationale for choosing the reference standard (if alternatives exist)
	P4

	
	
	12a
	Definition of and rationale for test positivity cut-offs or result categories 
of the index test, distinguishing pre-specified from exploratory
	P6

	
	
	12b
	Definition of and rationale for test positivity cut-offs or result categories 
of the reference standard, distinguishing pre-specified from exploratory
	P4

	
	
	13a
	Whether clinical information and reference standard results were available 
to the performers/readers of the index test
	P6

	
	
	13b
	Whether clinical information and index test results were available 
to the assessors of the reference standard
	P6

	
	Analysis
	14
	Methods for estimating or comparing measures of diagnostic accuracy
	TABLE 5

	
	
	15
	How indeterminate index test or reference standard results were handled
	P7

	
	
	16
	How missing data on the index test and reference standard were handled
	-

	
	
	17
	Any analyses of variability in diagnostic accuracy, distinguishing pre-specified from exploratory
	-

	
	
	18
	Intended sample size and how it was determined
	P4

	
	
RESULTS
	
	
	

	
	Participants
	19
	Flow of participants, using a diagram
	· (P9)

	
	
	20
	Baseline demographic and clinical characteristics of participants
	TABLE 4

	
	
	21a
	Distribution of severity of disease in those with the target condition
	TABLE 4

	
	
	21b
	Distribution of alternative diagnoses in those without the target condition
	-

	
	
	22
	Time interval and any clinical interventions between index test and reference standard
	P5

	
	Test results
	23
	Cross tabulation of the index test results (or their distribution) 
by the results of the reference standard
	TABLE 5

	
	
	24
	Estimates of diagnostic accuracy and their precision (such as 95% confidence intervals)
	TABLE 6

	
	
	25
	Any adverse events from performing the index test or the reference standard
	-

	
	DISCUSSION
	
	
	

	
	
	26
	Study limitations, including sources of potential bias, statistical uncertainty, and generalisability
	P12

	
	
	27
	Implications for practice, including the intended use and clinical role of the index test
	P13

	
	OTHER INFORMATION
	
	
	

	
	
	28
	Registration number and name of registry
	-

	
	
	29
	Where the full study protocol can be accessed
	-

	
	
	30
	Sources of funding and other support; role of funders
	P15

	
	
	
	
	






Table S2. Per sample results of qPCR and DjinniChip assay

	Raw results of qPCR Chlamydia trachomatis vs DjinniChip

	Sample ID
	DjinniChip
	PCR
	Chromosome target, copies/µl
	Plasmid target, copies/µl
	Post-PCR confirmatory test

	CD14-001
	neg
	neg
	0
	0
	

	CD14-002
	neg
	neg
	0
	0
	

	CD14-003
	neg
	neg
	0
	0
	

	CD14-004
	neg
	neg
	0
	0
	

	CD14-005
	neg
	neg
	0
	0
	

	CD14-006
	neg
	neg
	0
	0
	

	CD14-007
	neg
	neg
	0
	0
	

	CD14-008
	neg
	neg
	0
	0
	

	CD14-009
	neg
	neg
	0
	0
	

	CD14-010
	neg
	neg
	0
	0
	

	CD14-011
	neg
	neg
	0
	0
	

	CD14-012
	neg
	neg
	0
	0
	

	CD14-013
	neg
	neg
	0
	0
	

	CD14-014
	neg
	neg
	0
	0
	

	CD14-015
	neg
	neg
	0
	0
	

	CD14-016
	neg
	neg
	0
	0
	

	CD14-017
	neg
	neg
	0
	0
	

	CD14-018
	neg
	neg
	0
	0
	

	CD14-019
	neg
	neg
	0
	0
	

	CD14-020
	neg
	neg
	0
	0
	

	CD14-021
	pos
	neg
	0
	0
	

	CD14-022
	neg
	neg
	0
	0
	

	CD14-023
	neg
	neg
	0
	0
	

	CD14-024
	neg
	neg
	0
	0
	

	CD14-025
	neg
	neg
	0
	0
	

	CD14-026
	neg
	neg
	0
	0
	

	CD14-027
	neg
	neg
	0
	0
	

	CD14-028
	pos
	neg
	0
	0
	

	CD14-029
	neg
	neg
	0
	0
	

	CD14-030
	neg
	neg
	0
	0
	

	CD14-031
	neg
	neg
	0
	0
	

	CD14-032
	neg
	neg
	0
	0
	

	CD14-033
	neg
	neg
	0
	0
	

	CD14-034
	neg
	neg
	0
	0
	

	CD14-035
	neg
	neg
	0
	0
	

	CD14-036
	neg
	neg
	0
	0
	

	CD14-037
	neg
	neg
	0
	0
	

	CD14-038
	neg
	neg
	0
	0
	

	CD14-039
	neg
	neg
	0
	0
	

	CD14-040
	neg
	neg
	0
	0
	

	CD14-041
	neg
	neg
	0
	0
	

	CD14-042
	neg
	neg
	0
	0
	

	CD14-043
	neg
	neg
	0
	0
	

	CD14-044
	neg
	neg
	0
	0
	

	CD14-045
	neg
	neg
	0
	0
	

	CD14-046
	neg
	neg
	0
	0
	

	CD14-047
	neg
	neg
	0
	0
	

	CD14-048
	neg
	neg
	0
	0
	

	CD14-049
	neg
	neg
	0
	0
	

	CD14-050
	neg
	neg
	0
	0
	

	CD14-051
	neg
	neg
	0
	0
	

	CD14-052
	neg
	neg
	0
	0
	

	CD14-053
	neg
	neg
	0
	0
	

	CD14-054
	neg
	neg
	0
	0
	

	CD14-055
	neg
	neg
	0
	0
	

	CD14-056
	neg
	neg
	0
	0
	

	CD14-057
	neg
	neg
	0
	0
	

	CD14-058
	neg
	neg
	0
	0
	

	CD14-059
	neg
	neg
	0
	0
	

	CD14-060
	neg
	neg
	0
	0
	

	CD14-061
	neg
	neg
	0
	0
	

	CD14-062
	neg
	neg
	0
	0
	

	CD14-063
	neg
	neg
	0
	0
	

	CD14-064
	neg
	neg
	0
	0
	

	CD14-065
	neg
	neg
	0
	0
	

	CD14-066
	neg
	neg
	0
	0
	

	CD14-067
	neg
	neg
	0
	0
	

	CD14-068
	neg
	neg
	0
	0
	

	CD14-069
	neg
	neg
	0
	0
	

	CD14-070
	pos
	pos
	150803.0
	332147.8
	

	CD14-071
	neg
	neg
	0
	0
	

	CD14-072
	neg
	neg
	0
	0
	

	CD14-073
	neg
	neg
	0
	0
	

	CD14-074
	neg
	neg
	0
	0
	

	CD14-075
	neg
	neg
	0
	0
	

	CD14-076
	neg
	neg
	0
	0
	

	CD14-077
	neg
	neg
	0
	0
	

	CD14-078
	neg
	neg
	0
	0
	

	CD14-079
	neg
	neg
	0
	0
	

	CD14-080
	neg
	neg
	0
	0
	

	CD14-081
	neg
	neg
	0
	0
	

	CD14-082
	neg
	neg
	0
	0
	

	CD14-083
	neg
	neg
	0
	0
	

	CD14-084
	neg
	neg
	0
	0
	

	CD14-085
	neg
	neg
	0
	0
	

	CD14-086
	neg
	neg
	0
	0
	

	CD14-087
	neg
	neg
	0
	0
	

	CD14-088
	neg
	neg
	0
	0
	

	CD14-089
	neg
	neg
	0
	0
	

	CD14-090
	neg
	neg
	0
	0
	

	CD14-091
	neg
	neg
	0
	0
	

	CD14-092
	neg
	neg
	0
	0
	

	CD14-093
	neg
	neg
	0
	0
	

	CD14-094
	neg
	neg
	0
	0
	

	CD14-095
	neg
	neg
	0
	0
	

	CD14-096
	neg
	neg
	0
	0
	

	CD14-097
	neg
	neg
	0
	0
	

	CD14-098
	neg
	neg
	0
	0
	

	CD14-099
	neg
	neg
	0
	0
	

	CD14-100
	neg
	neg
	0
	0
	

	CD14-179
	neg
	neg
	0
	0
	

	CD14-180
	neg
	neg
	0
	0
	

	CD14-181
	neg
	neg
	0
	0
	

	CD14-182
	neg
	neg
	0
	0
	

	CD14-183
	neg
	neg
	0
	0
	

	CD14-184
	neg
	neg
	0
	0
	

	CD14-185
	neg
	neg
	0
	0
	

	CD14-186
	neg
	neg
	0
	0
	

	CD14-187
	neg
	neg
	0
	0
	

	CD14-188
	neg
	neg
	0
	0
	

	CD14-189
	neg
	neg
	0
	0
	

	CD14-190
	neg
	neg
	0
	0
	

	CD14-191
	neg
	neg
	0
	0
	

	CD14-192
	neg
	neg
	0
	0
	

	CD14-193
	neg
	neg
	0
	0
	

	CD14-194
	neg
	neg
	0
	0
	

	CD14-195
	neg
	neg
	0
	0
	

	CD14-196
	neg
	neg
	0
	0
	

	CD14-197
	neg
	neg
	0
	0
	

	CD14-198
	neg
	neg
	0
	0
	

	CD14-199
	neg
	neg
	0
	0
	

	CD14-200
	neg
	neg
	0
	0
	

	CD14-201
	neg
	neg
	0
	0
	

	CD14-202
	neg
	neg
	0
	0
	

	CD14-203
	pos
	pos
	2236.7
	6547.3
	

	CD14-204
	neg
	neg
	0
	0
	

	CD14-205
	neg
	neg
	0
	0
	

	CD14-206
	neg
	neg
	0
	0
	

	CD14-207
	neg
	neg
	0
	0
	

	CD14-208
	pos
	pos
	454.7
	1398.6
	

	CD14-209
	neg
	neg
	0
	0
	

	CD14-210
	neg
	neg
	0
	0
	

	CD14-211
	neg
	neg
	0
	0
	

	CD14-212
	neg
	neg
	0
	0
	

	CD14-213
	neg
	pos
	0
	10.9
	(1:10) neg

	CD14-214
	neg
	neg
	0
	0
	

	CD14-215
	neg
	neg
	0
	0
	

	CD14-216
	neg
	neg
	0
	0
	

	CD14-217
	neg
	neg
	0
	0
	

	CD14-218
	neg
	neg
	0
	0
	

	CD14-219
	neg
	neg
	0
	0
	

	CD14-220
	neg
	neg
	0
	0
	

	CD14-221
	neg
	neg
	0
	0
	

	CD14-222
	neg
	neg
	0
	0
	

	CD14-223
	neg
	neg
	0
	0
	

	CD14-224
	neg
	pos
	1167.5
	6093.8
	(1:10) pos

	CD14-225
	neg
	pos
	1591.4
	4794.5
	(1:10) pos

	CD14-226
	neg
	pos
	36559.0
	122852.9
	(1:10) pos

	CD14-227
	neg
	pos
	3331.1
	4001.2
	(1:10) pos

	CD14-228
	neg
	neg
	0
	0
	

	CD14-229
	neg
	neg
	0
	0
	

	CD14-230
	neg
	pos
	32184.7
	19211.9
	(1:10) pos

	CD14-231
	neg
	neg
	0
	0
	

	CD14-232
	pos
	neg
	0
	0
	

	CD14-233
	pos
	pos
	2973.8
	6069.0
	

	CD14-234
	neg
	neg
	0
	0
	

	CD14-235
	pos
	pos
	10824.5
	30371.8
	

	CD14-236
	neg
	neg
	0
	0
	

	CD14-237
	neg
	neg
	0
	0
	

	CD14-238
	neg
	pos
	1907.2
	8125.8
	(1:10) pos

	CD14-239
	neg
	neg
	0
	0
	

	CD14-240
	neg
	neg
	0
	0
	

	CD14-241
	neg
	pos
	77.9
	464.4
	(1:10) pos

	CD14-242
	neg
	neg
	0
	0
	

	CD14-243
	neg
	neg
	0
	0
	

	CD14-244
	neg
	neg
	0
	0
	

	CD14-245
	neg
	pos
	245.9
	697.2
	(1:10) pos

	CD14-246
	neg
	neg
	0
	0
	

	CD14-247
	neg
	pos
	3.7
	0
	(NA)

	CD14-248
	neg
	neg
	0
	0
	

	CD14-249
	neg
	pos
	6873.3
	22977.7
	(1:10) pos

	CD14-250
	neg
	neg
	0
	0
	

	CD14-251
	neg
	neg
	0
	0
	

	CD14-252
	neg
	neg
	0
	0
	

	CD14-253
	neg
	neg
	0
	0
	

	CD14-254
	neg
	neg
	0
	0
	

	CD14-255
	neg
	neg
	0
	0
	

	CD14-256
	pos
	pos
	101.6
	607.2
	

	CD14-257
	neg
	neg
	0
	0
	

	CD14-258
	neg
	neg
	0
	0
	

	CD14-259
	neg
	neg
	0
	0
	

	CD14-260
	neg
	neg
	0
	0
	

	CD14-261
	neg
	neg
	0
	0
	

	CD14-262
	neg
	neg
	0
	0
	

	CD14-263
	neg
	neg
	0
	0
	

	CD14-264
	neg
	neg
	0
	0
	

	CD14-265
	neg
	neg
	0
	0
	

	CD14-266
	neg
	neg
	0
	0
	

	CD14-267
	neg
	neg
	0
	0
	

	CD14-268
	neg
	neg
	0
	0
	

	CD14-269
	neg
	neg
	0
	0
	

	CD14-270
	neg
	neg
	0
	0
	

	CD14-271
	neg
	neg
	0
	0
	

	CD14-272
	neg
	neg
	0
	0
	

	CD14-273
	neg
	neg
	0
	0
	

	CD14-274
	neg
	neg
	0
	0
	

	CD14-275
	neg
	neg
	0
	0
	

	CD14-276
	neg
	neg
	0
	0
	

	CD14-277
	pos
	pos
	425.6
	1506.0
	

	CD14-278
	neg
	neg
	0
	0
	

	CD14-279
	pos
	neg
	0
	0
	

	CD14-280
	neg
	neg
	0
	0
	

	CD14-281
	neg
	neg
	0
	0
	

	CD14-282
	neg
	neg
	0
	0
	

	CD14-283
	neg
	pos
	6.8
	0
	(NA)

	CD14-284
	neg
	neg
	0
	0
	

	CD14-285
	neg
	neg
	0
	0
	

	CD14-286
	pos
	pos
	1239.6
	3655.8
	

	CD14-287
	pos
	neg
	0
	0
	

	CD14-288
	neg
	neg
	0
	0
	

	CD14-289
	pos
	neg
	0
	0
	

	CD14-290
	neg
	neg
	0
	0
	

	CD14-291
	neg
	neg
	0
	0
	

	CD14-292
	neg
	neg
	0
	0
	

	CD14-293
	neg
	neg
	0
	0
	

	CD14-294
	pos
	pos
	0
	12.1
	

	CD14-295
	pos
	pos
	28.2
	178.5
	

	CD14-296
	neg
	neg
	0
	0
	

	CD14-297
	pos
	pos
	608.2
	3874.0
	

	CD14-298
	neg
	neg
	0
	0
	

	CD14-299
	pos
	neg
	0
	0
	

	CD14-300
	neg
	neg
	0
	0
	

	CD14-301
	pos
	pos
	226.7
	475.8
	

	CD14-302
	neg
	neg
	0
	0
	

	CD14-303
	pos
	pos
	295.9
	891.7
	

	CD14-304
	pos
	pos
	5202.6
	18112.4
	

	CD14-305
	pos
	pos
	414.5
	2715.9
	

	CD14-306
	neg
	neg
	0
	0
	

	CD14-307
	neg
	neg
	0
	0
	

	CD14-308
	pos
	pos
	32.1
	265.0
	

	CD14-309
	neg
	neg
	0
	0
	

	CD14-310
	neg
	neg
	0
	0
	

	CD14-311
	neg
	neg
	0
	0
	

	CD14-312
	neg
	pos
	3.6
	0
	(NA)

	CD14-313
	neg
	neg
	0
	0
	

	CD14-314
	neg
	neg
	0
	0
	

	CD14-315
	neg
	neg
	0
	0
	

	CD14-316
	neg
	neg
	0
	0
	

	CD14-317
	neg
	neg
	0
	0
	

	CD14-318
	neg
	neg
	0
	0
	

	CD14-319
	neg
	neg
	0
	0
	

	CD14-320
	neg
	neg
	0
	0
	

	CD14-321
	pos
	neg
	0
	0
	

	CD14-322
	neg
	neg
	0
	0
	

	CD14-323
	pos
	neg
	0
	0
	

	CD14-324
	neg
	neg
	0
	0
	

	CD14-325
	pos
	neg
	0
	0
	

	CD14-326
	pos
	pos
	2057.9
	8462.7
	

	CD14-327
	pos
	neg
	0
	0
	

	CD14-328
	neg
	neg
	0
	0
	

	CD14-329
	neg
	neg
	0
	0
	

	CD14-330
	neg
	neg
	0
	0
	

	CD14-331
	neg
	neg
	0
	0
	

	CD14-332
	neg
	neg
	0
	0
	

	CD14-333
	neg
	neg
	0
	0
	

	CD14-334
	neg
	neg
	0
	0
	

	CD14-335
	neg
	neg
	0
	0
	

	CD14-336
	neg
	neg
	0
	0
	

	CD14-337
	neg
	neg
	0
	0
	

	CD14-338
	neg
	neg
	0
	0
	

	CD14-339
	pos
	neg
	0
	0
	

	CD14-340
	neg
	neg
	0
	0
	

	CD14-341
	neg
	neg
	0
	0
	

	CD14-342
	neg
	neg
	0
	0
	

	CD14-343
	neg
	neg
	0
	0
	

	CD14-344
	neg
	neg
	0
	0
	

	CD14-345
	pos
	pos
	17229.7
	77056.3
	

	CD14-346
	pos
	pos
	97.4
	328.2
	

	CD14-347
	neg
	neg
	0
	0
	

	CD14-348
	neg
	neg
	0
	0
	

	CD14-349
	neg
	pos
	4.6
	0
	(NA)

	CD14-350
	neg
	neg
	0
	0
	

	CD14-351
	neg
	neg
	0
	0
	

	CD14-352
	pos
	pos
	352.1
	1611.0
	

	CD14-353
	neg
	neg
	0
	0
	

	CD14-354
	pos
	neg
	0
	0
	

	CD14-355
	pos
	pos
	251.7
	771.9
	

	CD14-356
	neg
	pos
	203.3
	711.1
	(1:10) pos

	CD14-357
	pos
	pos
	498.0
	2155.7
	

	CD14-358
	neg
	neg
	0
	0
	

	CD14-359
	neg
	neg
	0
	0
	

	CD14-360
	neg
	neg
	0
	0
	

	CD14-361
	pos
	pos
	616.7
	2157.7
	

	CD14-362
	neg
	neg
	0
	0
	

	CD14-363
	neg
	neg
	0
	0
	

	CD14-364
	neg
	neg
	0
	0
	

	CD14-365
	neg
	neg
	0
	0
	

	CD14-366
	neg
	neg
	0
	0
	

	CD14-367
	neg
	neg
	0
	0
	

	CD14-368
	neg
	neg
	0
	0
	

	CD14-369
	neg
	neg
	0
	0
	

	CD14-370
	neg
	neg
	0
	0
	

	CD14-371
	neg
	neg
	0
	0
	

	CD14-372
	neg
	neg
	0
	0
	

	CD14-373
	pos
	pos
	634.7
	1351.2
	

	CD14-374
	neg
	neg
	0
	0
	

	CD14-375
	neg
	neg
	0
	0
	

	CD14-376
	neg
	neg
	0
	0
	

	CD14-377
	neg
	neg
	0
	0
	

	CD14-378
	neg
	neg
	0
	0
	

	CD14-379
	neg
	pos
	23.7
	122.9
	(1:10) neg

	CD14-380
	neg
	neg
	0
	0
	

	CD14-381
	neg
	neg
	0
	0
	

	CD14-382
	neg
	neg
	0
	0
	

	CD14-383
	neg
	neg
	0
	0
	

	CD14-384
	neg
	neg
	0
	0
	

	CD14-385
	neg
	neg
	0
	0
	

	CD14-386
	pos
	pos
	2467.4
	7485.1
	

	CD14-387
	pos
	pos
	171.2
	382.3
	

	CD14-388
	neg
	neg
	0
	0
	

	CD14-389
	neg
	neg
	0
	0
	

	CD14-390
	neg
	neg
	0
	0
	

	CD14-391
	neg
	neg
	0
	0
	

	CD14-392
	neg
	neg
	0
	0
	

	CD14-393
	pos
	pos
	492.6
	1140.8
	

	CD14-394
	pos
	neg
	0
	0
	

	CD14-395
	pos
	pos
	18.3
	43.1
	

	CD14-396
	neg
	pos
	96.6
	23.9
	(1:10) neg

	CD14-397
	pos
	neg
	0
	0
	

	CD14-398
	pos
	pos
	949.9
	1812.6
	

	CD14-399
	neg
	neg
	0
	0
	

	CD14-400
	neg
	neg
	0
	0
	

	CD14-401
	pos
	pos
	13099.6
	53624.3
	

	CD14-402
	neg
	neg
	0
	0
	

	CD14-403
	neg
	neg
	0
	0
	

	CD14-404
	neg
	pos
	83.8
	238.9
	(1:10) neg

	CD14-405
	neg
	neg
	0
	0
	

	CD14-406
	pos
	pos
	409.6
	606.4
	

	CD14-407
	neg
	neg
	0
	0
	

	CD14-408
	pos
	pos
	15837.8
	29198.5
	

	CD14-409
	neg
	neg
	0
	0
	

	CD14-410
	neg
	neg
	0
	0
	

	CD14-411
	pos
	pos
	445.5
	688.2
	

	CD14-412
	neg
	neg
	0
	0
	

	CD14-413
	neg
	neg
	0
	0
	

	CD14-414
	pos
	pos
	1009.0
	1841.7
	

	CD14-415
	neg
	neg
	0
	0
	

	CD14-416
	pos
	neg
	0
	0
	

	CD14-417
	neg
	neg
	0
	0
	

	CD14-418
	neg
	neg
	0
	0
	

	CD14-419
	neg
	neg
	0
	0
	

	CD14-420
	neg
	neg
	0
	0
	

	CD14-421
	neg
	neg
	0
	0
	

	CD14-422
	neg
	neg
	0
	0
	

	CD14-423
	neg
	neg
	0
	0
	

	CD14-424
	pos
	neg
	0
	0
	

	CD14-425
	pos
	pos
	7966.4
	21015.7
	

	CD14-426
	neg
	neg
	0
	0
	

	CD14-427
	neg
	neg
	0
	0
	

	CD14-428
	neg
	neg
	0
	0
	

	CD14-429
	neg
	neg
	0
	0
	

	CD14-430
	neg
	neg
	0
	0
	


[bookmark: _GoBack]NA – not available


Table S3. Results of the evaluation of mock samples in field conditions used by lay or experienced laboratory personnel

	
	
	Copies/swab
	0
	160
	800
	3200
	16000

	 
	 
	Replicates
	1
	2
	1
	2
	1
	2
	1
	2
	1
	2

	Laboratory
	DjinniChip
	Exp. User
	neg
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	
	   Lay user
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.

	
	qPCR
	Exp. User
	neg
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	
	   Lay user
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.
	n.a.

	Field site 1: 33ºC, 24% humidity
	DjinniChip
	Exp. User
	weak pos
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	
	Lay user
	pos
	weak pos
	very weak pos
	pos
	false neg
	pos
	pos
	pos
	pos
	neg

	
	qPCR
	Exp. User
	neg
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	
	Lay user
	neg
	neg
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	Field site 2: 36ºC, 19% humidity
	DjinniChip
	Exp. User
	weak pos
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	
	Lay user
	neg
	weak pos
	pos
	weak pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	qPCR
	Exp. User
	neg
	neg
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	
	Lay user
	neg
	neg
	pos
	neg
	pos
	pos
	pos
	pos
	pos
	pos

	Field site 3: 25ºC, 50% humidity
	DjinniChip
	Exp. User
	neg
	neg
	pos
	pos
	false neg
	pos
	pos
	pos
	pos
	pos

	
	
	Lay user
	neg
	false pos
	pos
	pos
	pos
	weak pos
	pos
	pos
	pos
	pos

	
	qPCR
	Exp. User
	neg
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	
	Lay user
	neg
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	Field site 4: 29ºC, 40% humidity
	DjinniChip
	Exp. User
	false pos
	false pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	
	Lay user
	false pos
	weak pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	qPCR
	Exp. User
	neg
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos

	
	
	Lay user
	neg
	neg
	pos
	pos
	pos
	pos
	pos
	pos
	pos
	pos



DjinniChip tests were performed by an experienced user (Exp.) and a lay user. qPCR was performed by a qualified operator using swab material eluted in the field by experienced and lay users. The results that did not correspond the sample status are highlighted

image2.png




image2.tiff
< o
Z o0 c —
D.m.w | - @)
m um NE. m\
c [ o
c > 2
55 |
o83
|- - - bS] | | .
% er-32g .. B LA g
i =
—— o
Bt L
~ ®9-0/-c9L 25py R
¢

: 2 . “or-0r-0F H 61 § m.w
« WNDEEWSTSTC |
AL m

OR.0F 0¥ F 254/ o

Nt >

07T - .
0§.03.06F 25ps ©

1 m i}

050 -0 L 25m/

2 | | -]
05~01-056 285pf ©

Sl | W
eris.0 F ¥

39218





image3.tif
- Genomic DNA
copy humber
- perreaction




image1.tiff
C-band == - -

T-band e





