

	Quantity
	Unit
	Description
	 Unit price ($) 
	 Total USD 

	1
	Item
	Substructure foundation and platform
	
	 

	175m
	m
	Excavation and concrete base layer
	               5.19 
	       908.25 

	175m/2
	m/2
	Building foundation walls with 6" concrete block
	             12.98 
	    2,272.00 

	4
	Rolls
	Steel reinforcement (roll = 22m x 4m)
	           160.00 
	       640.00 

	151
	Tonne
	compacted soil and hardcore stones
	             20.00 
	    3,020.00 

	22.5
	m/3
	Concrete slab 225m/2 x 100 mm
	           121.00 
	    2,725.00 

	225
	m/2
	concrete floor scread 5 cm thick
	               5.17 
	    1,168.00 

	150
	meter
	water proof concrete ant channel 
	               9.69 
	    1,454.00 

	40
	piece
	Iron brackets for mounting roof pillars
	             13.00 
	       520.00 

	1
	Item
	Roof construction
	
	 

	120
	piece
	Treated timber for pillars 6"x2" x 6m
	             13.85 
	    1,662.00 

	90
	piece
	Treated timbers for roof trusses 4" x 2" x 6m
	             10.39 
	       935.00 

	92
	piece
	Treated timbers for roof trusses 3" x 2" x 6m
	               7.78 
	       716.00 

	250
	meter
	Heat reflecting foil
	               9.52 
	    2,379.00 

	270
	m/2
	Corrugated Iron sheets
	               9.73 
	    2,628.00 

	1
	Item
	Iron frames for iterior 
	
	 

	92
	piece
	Square tube 25mm x 25mm x 2mm (6m)
	             18.17 
	    1,672.00 

	12
	piece
	square tube 30mm x 30mm x 2mm (6m)
	             29.67 
	       356.00 

	1
	piece
	Steel plate 120cm x 240cm x 3mm
	           121.00 
	       121.00 

	 
	
	Netting doors and chambers
	
	 

	420
	meter
	Phizer fiberglass uv resistant netting  1.2m wide sewn 
	               7.14 
	    3,000.00 

	10
	piece
	Cloth and net chamber 3.5m x 2.3m x 2m
	           216.00 
	    2,160.00 

	70
	meter
	White PVC material for doors and dividers
	             10.00 
	       700.00 

	 
	
	Labour and transport
	
	    9,300.00 

	 
	
	
	
	  38,336.25 

	 
	
	 VAT 
	
	    6,900.00 

	 
	 
	Total
	 
	  45,236.25 
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For additional information and building plans, please contact jmoore@ihi.or.tz
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