[bookmark: _GoBack]Table S1: Results of PCR amplification of Alu-Repeat, 16Sr RNA, and CytB loci for validating probable PCR inhibitors in the human blood and mosquito. HB: human blood, DC-AP: decapitated and amputated, Mos.: mosquito).
	Locus 
	No of DNA template tested
	False negative
	False positive

	
	HB plus DC-AP male Mos.
	HB (positive
control)
	Male Mos. (negative
control)
	
	

	Alu-Repeat
	10
	10
	10
	0
	0

	16Sr RNA
	10
	10
	10
	0
	0

	CytB
	10
	10
	10
	0
	0



