Additional file 2

Table S3: Criteria of a study conducted according to Standards for the Reporting of Diagnostic accuracy studies that use Bayesian Latent Class Models

|  | Section & Topic | No | Item | Reported on page # |
| --- | --- | --- | --- | --- |
|  | TITLE OR ABSTRACT |  |  |  |
|  |  | 1 | Identification as a study of diagnostic accuracy, using at least one measure of accuracy (such as sensitivity, specificity, predictive values, or AUC) and Bayesian latent class models | 1, 3 |
|  | ABSTRACT |  |  |  |
|  |  | 2 | Structured summary of study design, methods, results, and conclusions (for specific guidance, see STARD for Abstracts) | 3 |
|  | INTRODUCTION |  |  |  |
|  |  | 3 | Scientific and clinical background, including the intended use and clinical role of the tests under evaluation | 5 |
|  |  | 4 | Study objectives and hypotheses, such as estimation of diagnostic accuracy of the tests for a defined purpose through BLCM | 6 |
|  | METHODS |  |  |  |
|  | Study design | 5 | Whether data collection was planned before the tests were performed (prospective study) or after (retrospective study) | 6 |
|  | Participants | 6 | Eligibility criteria and description of the source population | 6 |
|  |  | 7 | On what basis potentially eligible participants were identified (such as symptoms, results from previous tests, inclusion in registry) | 6 |
|  |  | 8 | Where and when potentially eligible participants were identified (setting, location and dates) | 6 |
|  |  | 9 | Whether participants formed a consecutive, random or convenience series | 6 |
|  | Test methods | 10 | Description of the tests under evaluation, in sufficient detail to allow replication, and/or cite references | 7, 8 |
|  |  | 11 | Rationale for choosing the tests under evaluation in relation to their purpose | 7 |
|  |  | 12 | Definition of and rationale for test positivity cut-offs or result categories of the tests under evaluation, distinguishing pre-specified from exploratory | 8 |
|  |  | 13 | Whether clinical information was available to the performers or readers of the tests under evaluation | 8 |
|  | Analysis | 14a | BLCM model for estimating measures of diagnostic accuracy | 10 |
|  |  | 14b | Definition and rationale of prior information and sensitivity analysis | 10 |
|  |  | 15 | How indeterminate results of the tests under evaluation were handled | N/A |
|  |  | 16 | How missing data of the tests under evaluation were handled | 9 |
|  |  | 17 | Any analyses of variability in diagnostic accuracy, distinguishing pre-specified from exploratory | 10 |
|  |  | 18 | Intended sample size and how it was determined | 9 |
|  | RESULTS |  |  |  |
|  | Participants | 19 | Flow of participants, using a diagram | Additional file 1: Fig S2 |
|  |  | 20 | Baseline demographic and clinical characteristics of participants | 11 |
|  |  | 21 | Not applicable: the distribution of the targeted conditions is unknown, hence the use of BLCM |  |
|  |  | 22 | Time interval and any clinical interventions between the tests under evaluation | 7, 8 |
|  | Test results | 23 | Cross tabulation of the tests’ results (or for continuous tests results their distribution by infection stage) | 27 |
|  |  | 24 | Estimates of diagnostic accuracy under alternative prior specification and their precision (such as 95% credible/probability intervals) | 12 |
|  |  | 25 | Any adverse events from performing the tests under evaluation | N/A |
|  | DISCUSSION |  |  |  |
|  |  | 26 | Study limitations, including sources of potential bias, statistical uncertainty, and generalisability | 15, 16 |
|  |  | 27 | Implications for practice, including the intended use and clinical role of the tests under evaluation in relevant settings (clinical, research, surveillance etc.) | 15, 16 |
|  | OTHER INFORMATION |  |  |  |
|  |  | 28 | Registration number and name of registry | N/A |
|  |  | 29 | Where the full study protocol can be accessed | N/A |
|  |  | 30 | Sources of funding and other support; role of funders | 18 |

STARD - BLCM

STARD-BLCM stands for “Standards for the Reporting of Diagnostic accuracy studies that use Bayesian Latent Class Models” and is a modification of the STARD statement (which was recently updated to STARD2015). STARD-BLCM aims to facilitate improved quality of reporting for diagnostic accuracy studies that use Bayesian latent class models in the absence of a reference standard. The proposed modifications are relevant to both Bayesian and frequentist estimation methods but the focus is on the former.

More information for STARD (STARD2015) can be found at: http://www.equator-network.org/reporting-guidelines/stard

More information for STARD-BLCM can be found at: http://www.equator-network.org/reporting-guidelines/stard-blcm