	Sample ID
	Measurement
	20 μL count
	Wet mount
	9 μL HCT
	40 μL HCT
	Thin smear
	Thick smear
	MKT
	PCR

	Dilution 1 (750 mf/mL)
	Replicate counts
	18
	12
	13
	31
	24
	25
	1
	3
	2
	N/A
	N/A
	N/A
	2
	4
	1
	18
	17
	7
	299
	321
	311
	N/A
	N/A
	N/A

	
	Average
	14.3
	26.7
	4.3
	N/A**
	2.3
	14
	310.3
	N/A

	
	Estimated mf/mL
	715.0
	534.0
	477.8
	N/A
	575.0
	700.0
	310.3
	N/A

	
	Qualitative*
Outcome
	Positive
	Positive
	Positive
	N/A
	Positive
	Positive
	Positive
	Positive

	[bookmark: _Hlk157600941]Dilution 2 (500 mf/mL)
	Replicate counts
	11
	14
	7
	24
	28
	33
	0
	1
	1
	6
	8
	5
	0
	1
	2
	18
	27
	29
	481
	329
	681
	N/A
	N/A
	N/A

	
	Average
	10.7
	28.3
	0.7
	6.3
	1.0
	24.7
	497.0
	N/A

	
	Estimated mf/mL
	533.3
	566.7
	77.7
	157.5
	250.0
	1,235.0
	497.0
	N/A

	
	Qualitative outcome
	Positive
	Positive
	unreliable
	Positive
	Positive
	Positive
	Positive
	Positive

	[bookmark: _Hlk157601087]Dilution 3 (100 mf/mL)
	Replicate counts
	3
	3
	3
	6
	6
	4
	0
	1
	0
	1
	2
	1
	2
	2
	0
	5
	3
	3
	111
	93
	83
	N/A
	N/A
	N/A

	
	Average
	3.0
	5.3
	0.33
	1.3
	1.3
	3.7
	95.7
	N/A

	
	Estimated mf/mL
	150.0
	106.0
	37.0
	32.5
	325.0
	185.0
	95.7
	N/A

	
	Qualitative
Outcome
	Positive
	Positive
	Unreliable
	Positive
	Unreliable
	Positive
	Positive
	Positive

	Dilution 4
(50 mf/mL)
	Replicate counts
	1
	2
	1
	3
	1
	1
	0
	0
	0
	0
	1
	3
	1
	0
	0
	0
	3
	1
	21
	19
	15
	N/A
	N/A
	N/A

	
	Average
	1.3
	1.7
	0
	1.3
	0.3
	1.3
	18.3
	N/A

	
	Estimated mf/mL
	66.7
	33.3
	0
	32.5
	75.0
	65.0
	18.3
	N/A

	
	Qualitative
Outcome
	Positive
	Positive
	Negative
	Unreliable
	Unreliable
	Unreliable
	Positive
	Positive

	Dilution 5
(25 mf/mL)
	Replicate counts
	2
	0
	0
	1
	0
	1
	0
	0
	0
	0
	1
	0
	0
	0
	0
	0
	0
	1
	21
	24
	13
	N/A
	N/A
	N/A

	
	Average
	0.7
	0.7
	0
	0.3
	0
	.3
	19.3
	N/A

	
	Estimated mf/mL
	35.0
	14.0
	0
	5.7
	0
	5.7
	19.3
	N/A

	
	Qualitative
outcome
	Unreliable
	Unreliable
	Negative
	Unreliable
	Negative
	Unreliable
	Positive
	Positive
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