| Sample ID | Measurement | 20 μL count |  |  | Wet mount |  |  | 9 μL HCT |  |  | 40 μL HCT |  |  | Thin smear |  |  | Thick smear |  |  | MKT |  |  | PCR |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dilution 1 (750 mf/mL) | Replicate counts | 18 | 12 | 13 | 31 | 24 | 25 | 1 | 3 | 2 | N/A | N/A | N/A | 2 | 4 | 1 | 18 | 17 | 7 | 299 | 321 | 311 | N/A | N/A | N/A |
|  | Average | 14.3 |  |  | 26.7 |  |  | 4.3 |  |  | N/A** |  |  | 2.3 |  |  | 14 |  |  | 310.3 |  |  | N/A |  |  |
|  | Estimated mf/mL | 715.0 |  |  | 534.0 |  |  | 477.8 |  |  | N/A |  |  | 575.0 |  |  | 700.0 |  |  | 310.3 |  |  | N/A |  |  |
|  | Qualitative* Outcome | Positive |  |  | Positive |  |  | Positive |  |  | N/A |  |  | Positive |  |  | Positive |  |  | Positive |  |  | Positive |  |  |
| Dilution 2 (500 mf/mL) | Replicate counts | 11 | 14 | 7 | 24 | 28 | 33 | 0 | 1 | 1 | 6 | 8 | 5 | 0 | 1 | 2 | 18 | 27 | 29 | 481 | 329 | 681 | N/A | N/A | N/A |
|  | Average | 10.7 |  |  | 28.3 |  |  | 0.7 |  |  | 6.3 |  |  | 1.0 |  |  | 24.7 |  |  | 497.0 |  |  | N/A |  |  |
|  | Estimated mf/mL | 533.3 |  |  | 566.7 |  |  | 77.7 |  |  | 157.5 |  |  | 250.0 |  |  | 1,235.0 |  |  | 497.0 |  |  | N/A |  |  |
|  | Qualitative outcome | Positive |  |  | Positive |  |  | unreliable |  |  | Positive |  |  | Positive |  |  | Positive |  |  | Positive |  |  | Positive |  |  |
| Dilution 3 (100 mf/mL) | Replicate counts | 3 | 3 | 3 | 6 | 6 | 4 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 2 | 0 | 5 | 3 | 3 | 111 | 93 | 83 | N/A | N/A | N/A |
|  | Average | 3.0 |  |  | 5.3 |  |  | 0.33 |  |  | 1.3 |  |  | 1.3 |  |  | 3.7 |  |  | 95.7 |  |  | N/A |  |  |
|  | Estimated mf/mL | 150.0 |  |  | 106.0 |  |  | 37.0 |  |  | 32.5 |  |  | 325.0 |  |  | 185.0 |  |  | 95.7 |  |  | N/A |  |  |
|  | Qualitative Outcome | Positive |  |  | Positive |  |  | Unreliable |  |  | Positive |  |  | Unreliable |  |  | Positive |  |  | Positive |  |  | Positive |  |  |
| Dilution 4 (50 mf/mL) | Replicate counts | 1 | 2 | 1 | 3 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 0 | 0 | 0 | 3 | 1 | 21 | 19 | 15 | N/A | N/A | N/A |
|  | Average | 1.3 |  |  | 1.7 |  |  | 0 |  |  | 1.3 |  |  | 0.3 |  |  | 1.3 |  |  | 18.3 |  |  | N/A |  |  |
|  | Estimated mf/mL | 66.7 |  |  | 33.3 |  |  | 0 |  |  | 32.5 |  |  | 75.0 |  |  | 65.0 |  |  | 18.3 |  |  | N/A |  |  |
|  | Qualitative Outcome | Positive |  |  | Positive |  |  | Negative |  |  | Unreliable |  |  | Unreliable |  |  | Unreliable |  |  | Positive |  |  | Positive |  |  |
| Dilution 5 (25 mf/mL) | Replicate counts | 2 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 21 | 24 | 13 | N/A | N/A | N/A |
|  | Average | 0.7 |  |  | 0.7 |  |  | 0 |  |  | 0.3 |  |  | 0 |  |  | .3 |  |  | 19.3 |  |  | N/A |  |  |
|  | Estimated mf/mL | 35.0 |  |  | 14.0 |  |  | 0 |  |  | 5.7 |  |  | 0 |  |  | 5.7 |  |  | 19.3 |  |  | N/A |  |  |
|  | Qualitative outcome | Unreliable |  |  | Unreliable |  |  | Negative |  |  | Unreliable |  |  | Negative |  |  | Unreliable |  |  | Positive |  |  | Positive |  |  |