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Collect approximately 200 mg of fecal sample into a filter-equipped sample containers.
Samples were automatically transferred via a rail system.
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The color and consistency of each stool specimen were recorded.

Inject a precise volume of diluent into the container to achieve the standardized
concentration required for testing.

A 2.3 mL aliquot of the mixture sample was automatically aspirated and filtered.

Multiple layered images were captured using high-definition microscopy.
Parasite eggs were automatically located and identified by artificial intelligence.

Present a comprehensive list the stool indicator.
Display magnified microscopic images of key findings to support result verification.
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