## Table S5
Table S5. Cost comparison of targeted and whole-transcriptome scRNA-seq systems
|  |  | mRNA library |  |  | Protein library (40-plex panel)
| Cells captured1 | Library prep | Required coverage (reads/cell) | Sequencing requirement (x106 reads) | Sequencing cost (mRNA)2 | Reagent cost per reaction3 | Sequencing requirement (x106 reads)3 | Sequencing cost (protein) | Total cost per reaction | Cost per cell
Targeted | 15000 | ~£1,500 | 3000 | 45 | ~£225 | ~£480 | 60-300 | ~£300-1,500 | ~£2,505-3,705 | ~£0.167-0.247
Whole-transcriptome | 5000 | ~£1,500 | 50000 | 250 | ~£1,250 | ~£880 | 20-100 | ~£100-500 | ~£3,730-4,130 | ~£0.746-0.826
Figures were obtained by comparing a typical single reaction of targeted scRNA-seq using the BD Rhapsody Immune response panel (N = 399 probes) and a whole-transcriptome platform (10X Genomics). Costs were based on approximate current listed prices and can vary depending on factors such as location or discounts available. 1Optimal number of cells captured per reaction, normalised to the same expected cell multiplet rate (approx. 5%); 2Sequencing costs were obtained based on the Illumina HiSeq4000 platform, and assuming an average yield of 300 x 106 reads passing QC filter and a cost of £1,500 per flow cell; 3Cost was based on a similar 40-plex oligo-conjugated antibody panel using either the BD AbSeq (25 test/antibody) or Biolegend TotalSeq (10 test/antibody) reagents and a test reaction size of 1 x 106 cells. Cost range reflects the protein sequencing strategy: (i) low sequencing saturation (~100 reads/target/cell) for cell clustering; or (ii) high sequencing saturation (~500 reads/target/cell) to obtain quantitative discrimination of protein expression and full dynamic range of expression - necessary to perform cell gating based on protein expression data (ie. molecular cytometry).