## overall
Overview
Plasma aliquots were prepared for three analytical platforms covering distinct metabolite and lipid classes: amines (5 µL), global profiling (25 µL), and signaling lipids (50 µL). A study quality control (SQC) pool was prepared by combining 30 µL of each sample, from which QC aliquots were generated for batch monitoring. Samples were randomized and analyzed in four batches. Each batch contained calibration lines, QC samples, and blanks to assess analytical performance and detect potential carryover. The global reverse-phase (RP) profiling batches did not include calibration lines. Both in-study QC (SQC) and out-of-study laboratory QC (LQC) samples were analyzed to evaluate analytical reproducibility and correct for instrument response drift. Method blanks, consisting of analyte-free matrix processed identically to study samples, were used to assess background signal and potential contamination.

## Amine platform
Sample preparation procedure
After thawing plasma aliquots on ice, 5mL of plasma were spiked with 30mL aqueous mixture of 13C and 15N labeled internal standards. Protein precipitation was conducted by adding 75mL ice-cold MeOH, followed by vortex for 60sec and centrifugation at 13000 rpm for 10 min at 4°C. The supernatant was dried in a SpeedVac at ambient temperature during approximately 2hr. The dried pellet was dissolved in 80mL borate buffer (pH 8.8), and 20ml of the derivatization reagent was added (AQC, 6-aminoquinolyl-N-hydroxysccinimidyl carbamate; Waters, Etten-Leur, The Netherlands). After 30min reaction at 55°C in a shaker (speed of 900 rpm), the reaction was stopped by the addition of 10ml 20% formic acid (v/v), and the mixed solution was transferred to HPLC vials. QC samples were prepared similarly, from pooled plasma of all available study samples.
LC-MS conditions
UPLC gradient profile (flow rate 0.7mL/min): |  |  | MS parameter settings
Time (min) | A (%) | B (%) | parameter | Setting
0 | 99.8 | 0.2 | Curtain Gas (CUR) | 30
0.5 | 99.8 | 0.2 | Collision Gas (CAD) | Medium
5.5 | 90 | 10 | IonSpray Voltage (IS) | 5500
7.5 | 80 | 20 | Temperature (TEM) | 350
8 | 40 | 60 | Ion Source Gas 1 | 60
8.1 | 5 | 95 | Ion Source Gas 2 | 70
9 | 5 | 95 | Declustering Potential (DP) | 90
9.1 | 99.8 | 0.2 | Entrance potential (EP) | 10
11 | 99.8 | 0.2 | Collison Energy (CE) | 25
|  |  | Collision Cell Exit Potential (CXP) | 10
A = water containing 0.1% formic acid v/v
B = acetonitrile containing 0.1% formic acid v/v
*LC effluent at 0-0.8min and 8min onwards is diverted to waste
Column temperature: 60°C
Auto sampler temperature: 4°C
Injection volume: 1 µL
PCA plot of the study samples and QC samples for all reported amine compounds,SQC corrected

## Signaling platform
Sample preparation procedure
An aliquot of 50 µL plasma was used for liquid–liquid extraction (LLE) of signaling lipids. The extraction procedure was based on a previously validated protocol with minor modifications. After thawing on ice, 5 µL of antioxidant solution (0.2 mg mL⁻¹ butylated hydroxytoluene, BHT; 0.2 mg mL⁻¹ EDTA) and 5 µL of internal standard (IS) mixture were added, followed by brief vortexing. Samples were acidified with 50 µL of 0.2 M citric acid/0.4 M disodium hydrogen phosphate buffer (pH 4.5). LLE was performed by adding 400 µL of a 1:1 (v/v) n-butanol:methyl tert-butyl ether (MTBE) extraction solvent, followed by mixing for 4 min. Samples were centrifuged (15,800 × g, 10 min, 4 °C), and 320 µL of the upper organic phase was collected and transferred to clean tubes. Extracts were dried using a SpeedVac concentrator (Thermo Fisher Scientific, USA) and reconstituted in 50 µL of ice-cold injection solvent (70% methanol/30% acetonitrile, v/v). After vortexing and centrifugation (15,800 × g, 10 min, 4 °C), the supernatants were transferred to amber LC vials for analysis. | The signaling lipid platform was designed to cover a wide range of bioactive lipid mediators involved in inflammation, oxidative stress, and cell signaling. The panel includes multiple classes of isoprostanes and their respective prostaglandin isomers derived from polyunsaturated fatty acids (PUFAs), encompassing both n-6 species—such as dihomo-γ-linolenic acid (DGLA) and arachidonic acid—and n-3 species, including eicosapentaenoic acid (EPA) and docosahexaenoic acid (DHA). In addition, the platform targets endocannabinoids, bile acids, sphingolipid metabolites (sphingosine, sphinganine, and their phosphorylated derivatives), and a broad spectrum of lysophospholipid species. The latter include lysophosphatidic acids (LPA), lysophosphatidylglycerols (LPG), lysophosphatidylinositols (LPI), lysophosphatidylserines (LPS), lysophosphatidylethanolamines (LPE), cyclic phosphatidic acids (cLPA), and free fatty acids (FA), covering carbon chain lengths ranging from C14 to C22. The signaling and peroxidized lipid platform is implemented through two complementary chromatographic methods operating under low- and high-pH conditions. The low-pH method focuses on isoprostanes, prostaglandins (PG), nitro-fatty acids, lyso-sphingolipids, endocannabinoids, and bile acids, whereas the high-pH method is used for lyso-sphingolipids, LPA, LPG, LPI, LPS, LPE, cLPA, and FA signaling lipids.
REF:Schoeman, J.C., Harms, A.C., van Weeghel, M. et al. Development and application of a UHPLC–MS/MS metabolomics based comprehensive systemic and tissue-specific screening method for inflammatory, oxidative and nitrosative stress. Anal Bioanal Chem 410, 2551–2568 (2018). https://doi.org/10.1007/s00216-018-0912-2
LC-MS conditions
High-pH Method | Low-pH Method
Samples were analyzed using a Shimadzu UHPLC systems (LC-30AD series) coupled to SCIEX QTRAP mass spectrometers(6500+) equipped with a Kinetex® Core-Shell EVO C18 column (50 × 2.1 mm, 1.7 µm, Phenomenex) maintained at 40 °C. Mobile phases consisted of: • A: 95% H₂O / 5% acetonitrile with 2 mM ammonium formate (NH₄HCO₂) and 0.1% NH₃ • B: 95% acetonitrile / 5% H₂O with 2 mM NH₄HCO₂ and 0.1% NH₃ (pH range 8.5–10.3) Chromatographic separation was achieved at a flow rate of 0.6 mL min⁻¹ using an 11 min gradient starting at 1% B, linearly increasing to 100% B at 7.7 min, held for 0.75 min, and re-equilibrated to 1% B by 11 min. The injection volume was 5 µL. The MS was operated in electrospray ionization (ESI) mode with polarity switching and multiple reaction monitoring (MRM). The ion-source parameters were: interface temperature = 300 °C; desolvation line = 250 °C; heat block = 400 °C; nebulizing gas = 3 L min⁻¹; heating gas = 10 L min⁻¹; drying gas = 10 L min⁻¹. | Samples were analyzed using a a Shimadzu UHPLC systems (LC-30AD series) coupled to SCIEX QTRAP mass spectrometers(7500) equipped with a Waters Acquity® BEH C18 column (50 × 2.1 mm, 1.7 µm) maintained at 40 °C. Mobile phases were: • A: H₂O with 0.1% acetic acid • B: 90% acetonitrile / 10% methanol with 0.1% acetic acid • C: isopropanol (IPA) with 0.1% acetic acid (pH range 3.2–3.5) The injection volume was 5 µL, with 10 µL of mobile phase A stacked in the needle to enhance column loadability. The gradient (flow rate = 0.7 mL min⁻¹) started at 20% B and 1% C, with B increased from 20% to 85% between 0.75–14 min, and C increased from 1% to 15% between 11–14 min. The gradient was held for 0.3 min and re-equilibrated to initial conditions by 16 min. The ESI source parameters were: interface temperature = 600 °C; curtain gas = 45 psi; CAD gas = 9; gas 1 = 65 psi; gas 2 = 65 psi. MRM and selected ion monitoring (SIM) were applied in polarity-switching mode. SIM was used for bile acids (LCA, UDCA, d₄-LCA, d₄-UDCA), while all other analytes were acquired in MRM mode. Unit resolution was used in both positive and negative ion modes.
PCA plot of the study samples and QC samples for all reported signaling lipids compounds, SQC corrected
High-pH | Low-pH
Samples TF01014_t1_PL1 (0045_A1), TF01_058t1_Se1 (0088_A1), TF01_081t0_PL1 (0117_A1) and TF03_039t2_PL1 (0164_A1) show some deviation in the plots but no technical errors have been found, therefore these samples are still reported. Handle these samples with extra care. | Sample TF01_071t0_PL1 ( 0009_A1) is not reported because of a technical error. Samples TF02_062t1_PL1 (0031_A1), TF09_084T0_PL1 (0113_A1) and TF03_039t2_PL1 (0164_A1) show some deviation in the plots but no technical errors have been found, therefore these samples are still reported. Handle these samples with extra care.

## Global platform
Sample preparation procedure
Protein precipitation was applied for plasma sample preparation. Aliquots of 25 µL of plasma were mixed with 10 µL of internal standard (IS) working solution and quenched with 90 µL of ice-cold methanol. The samples were vortex-mixed (1 min, high speed), incubated on ice (20 min), and centrifuged (15,600 × g, 15 min, 4 °C). Subsequently, 100 µL of supernatant was transferred to clean tubes and evaporated to dryness using a SpeedVac concentrator (Labcono, Kansas City, MO, USA). The residues were reconstituted in 75 µL of water containing 0.1% formic acid (FA), vortexed (1 min), and centrifuged (2,300 × g, 5 min, 4 °C). Finally, 70 µL of the supernatant was transferred to autosampler vials, and 1 µL was injected for LC–MS analysis.
LC-MS conditions
Analyses were performed on a reverse-phase (RP) UPLC–MS platform comprising a Shimadzu Nexera X2 LC system coupled to a SCIEX TripleTOF 6600 mass spectrometer (Foster City, CA, USA) with an electrospray ionization (ESI) source operated in both positive and negative ion modes. The ESI source parameters were as follows: spray voltage ±4.5 kV; capillary temperature 400 °C; sheath gas 40; auxiliary gas 40; curtain gas 45. Data were acquired in full-scan mode over an m/z range of 60–800 Da. Chromatographic separation was achieved on a Waters Acquity UPLC HSS T3 column (1.8 µm, 2.1 × 100 mm) maintained at 40 °C. The mobile phase A consisted of 0.1% FA in water, and mobile phase B was 0.1% FA in acetonitrile (ACN). The flow rate was 0.4 mL min⁻¹ with the following gradient: 0–0.5 min, 100% A; 0.5–2.5 min, 0–20% B; 2.5–7.5 min, 20–98% B; 7.5–12.0 min, hold at 98% B; 12.0–12.1 min, return to 100% A; and 12.1–15.0 min, re-equilibration. The autosampler was maintained at 10 °C. To minimize MS contamination, the LC flow was diverted to waste at 7 min using an external valve (Valco Instruments, USA).
Data Processing
Targeted peak detection was performed using a predefined target list initially containing approximately 600 compounds. Each target was manually verified for detectability in pooled study quality control (SQC) samples by comparing retention times and mass-to-charge ratios (m/z) with those of reference standards analyzed under identical chromatographic conditions. Features eluting after 6 min were excluded due to suspected poor solubility in the extraction solvent. Chromatographic peaks were subsequently aligned across samples, integrated, and annotated by matching their retention time and m/z with the verified target list. Processed blank samples were used to assess background signals, and all curated data were reviewed by a biostatistician prior to statistical analysis.
REF: Development of an Untargeted LC-MS Metabolomics Method with Postcolumn Infusion for Matrix Effect Monitoring in Plasma and Feces.Pingping Zhu, Anne-Charlotte Dubbelman, Christie Hunter, Michele Genangeli, Naama Karu, Amy Harms, and Thomas Hankemeier.Journal of the Ame rican Society for Mass Spectrometry 2024 35 (3), 590-602. DOI: 10.1021/jasms.3c00418
PCA plot of the study samples and QC samples for all reported compounds in positive mode.