RATER NAME:  _______________________________

MODEL Station Number:   Handheld RUQ 1    Handheld RUQ 2    Handheld RUQ 3

|  | POOR = 0 Inadequate Quality | INTERPRETABLE = 1 Minimally Adequate | GOOD = 2 Adequate Quality | EXCELLENT = 3 Superior Quality |
| --- | --- | --- | --- | --- |
| Target Structures Visualized | Few | Some | All | All plus detail |
| Relative image quality | Worse than most handhelds | Similar to most handhelds | Better than most handhelds | Similar to Cart-based ultrasound machine |
| Ability to answer common clinical questions based on image | NO! No clinical questions could be answered with confidence | Maybe but some clinical questions could not be answered with confidence | Yes, most clinical questions could be answered with confidence | YES! All clinical questions could be answered with confidence |
| Could you make common clinical decisions based on this image? | “NO! I could not make any clinical decisions based on this image at all” | “Maybe – I could make some clinical decisions based on this image.” | “Yes, I could make most clinical decisions with confidence based on this image.” | “YES! I could make all clinical decisions with confidence based on this image.” |
| Need to obtain additional ultrasound imaging with cart-based machine | YES! I definitely would need additional US imaging with a cart-based machine | YES, I most likely would need additional US imaging with a cart-based machine | NO, I most likely would NOT need additional US imaging with a cart-based machine | NO! I definitely would NOT need additional US imaging with a cart-based machine |

Instructions:

- Acquire a right upper quadrant view (liver, kidney, diaphragm) on model designated as “Handheld: Abdomen” with the curvilinear OR phased-array probe (if curvilinear not available) using the abdominal exam preset.

- Use scale above (0-3) to rate characteristics of each handheld device in the table below.

- For “Overall Ranking,” rank the devices from 1 (“Best”) to 6 (“Worst”) for this view.

|  | Difference in echogenicity of renal cortex vs. liver (0-3) | Clarity of blood vessels in liver parenchyma (0-3) | Distinguish medullary pyramids in renal cortex (0-3) | Far-field resolution (spine, aorta) (0-3) | Color flow Doppler of vessels in renal pelvis (0-3) | OVERALL RANKING (1=Best; 6=Worst) |
| --- | --- | --- | --- | --- | --- | --- |
| Butterfly |  |  |  |  |  | 1 2 3 4 5 6 |
| Clarius |  |  |  |  |  | 1 2 3 4 5 6 |
| Kosmos |  |  |  |  |  | 1 2 3 4 5 6 |
| Lumify |  |  |  |  |  | 1 2 3 4 5 6 |
| Mindray |  |  |  |  |  | 1 2 3 4 5 6 |
| Vscan Air |  |  |  |  |  | 1 2 3 4 5 6 |
| COMMENTS: |  |  |  |  |  |  |