## Appendix 2: Specifications for the glucometer used (GlucocardTM ∑ GT-1070)

| Product | GlucocardTM ∑ |
| --- | --- |
| Model | GT-1070 |
| Test Item | Blood glucose level |
| Sample | Fresh capillary blood(although whole blood samples are used for measurement, displayed results are equivalent to plasma glucose levels) |
| Sample size | 0.5µL |
| Test strips | Glucocard TM ∑test strips |
| Unit of measure | mmol/L |
| Test range | 0.6 to 33.3 mmol/L |
| Test time | 7 seconds from blood detection |
| Temperature compensation | Automatic compensation using built-in thermo sensor |
| Operating environment | Temperature: 10 to 400C Humidity: 20 to 80%(no condensation) |