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	Product
	GlucocardTM ∑ 

	Model 
	GT-1070

	Test Item
	Blood glucose level

	Sample
	Fresh capillary blood(although whole blood samples are used for measurement, displayed results are equivalent to plasma glucose levels)

	Sample size
	0.5µL

	Test strips
	Glucocard TM ∑test strips

	Unit of measure
	mmol/L

	Test range
	0.6 to 33.3 mmol/L

	Test time
	7 seconds from blood detection

	Temperature compensation
	Automatic compensation using built-in thermo sensor

	Operating environment
	Temperature: 10 to 400C
Humidity: 20 to 80%(no condensation)
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