Supplementary file 1: Quality controls used for the laboratory analysis

| Analyte | Quality controls used | Normal reference ranges- for adults |
| --- | --- | --- |
| Serum creatinine | Biochemistry control serum level I (cod. 18005, cod. 18009) | 0.5-1 mg/dL |
|  | Biochemistry control serum level II (cod. 18007, cod. 18010) |  |
| Urine creatinine | Biochemistry control urine (cod. 18054, cod.18066) | Urine albumin(mg/L) /Urine creatinine (mg/dL) 0-30 mg/g |
| Urine albumin | Biochemistry control urine (cod. 18054, cod.18066) |  |
| C-reactive protein | Rheumatoid control serum level I (cod. 31213) | Up to 5mg/L |
|  | Rheumatoid control serum level II (cod. 31214) |  |