Supplementary file 1: Quality controls used for the laboratory analysis
	Analyte
	Quality controls used
	Normal reference ranges- for adults

	Serum creatinine
	Biochemistry control serum level I (cod. 18005, cod. 18009)
	0.5-1 mg/dL

	
	Biochemistry control serum level II (cod. 18007, cod. 18010)
	

	Urine creatinine
	Biochemistry control urine (cod. 18054, cod.18066)
	Urine albumin(mg/L) /Urine creatinine (mg/dL)
0-30 mg/g

	Urine albumin
	Biochemistry control urine (cod. 18054, cod.18066)
	

	C-reactive protein
	Rheumatoid control serum level I (cod. 31213)
	Up to 5mg/L

	
	Rheumatoid control serum level II (cod. 31214)
	



