## Slide 1
Supplementary Figure 1
Size distribution of fragmented DNA from RKO cell line
D1000 ScreenTape (Bioanalyzer)
Cell-free DNA ScreenTape (TapeStation)

## Slide 2
Supplementary Figure 2
Overview of the workflow for evaluation of bisulfite conversion kits
Example for 20 ng input fragmented RKO DNA:
RKO 20 ng replicate 1
RKO 20 ng replicate 2
RKO 20 ng replicate 3
RKO 20 ng replicate 1-1
RKO 20 ng replicate 1-2
RKO 20 ng replicate 2-1
RKO 20 ng replicate 2-2
RKO 20 ng replicate 3-1
RKO 20 ng replicate 3-2
RKO 20 ng replicate 1
RKO 20 ng replicate 2
RKO 20 ng replicate 3
Similar set-up for 10, 5, 3, 2, 1 and 0.5 ng input of fragmented RKO DNA, all for five different bisulfite conversion kits
*Performed 2x because of two ddPCR assays downstream
Bisulfite conversion*
ddPCR
MYOD1
replicate 1
4Plex
replicate 1
MYOD1 replicate 2
4Plex replicate 2
MYOD1 replicate 3
4Plex replicate 3
MYOD1
Average+SD
4Plex
Average+SD
Bioanalyzer
(all replicates)
Pool

## Slide 3
Supplementary Figure 3
DNA quantity and DNA recovery after bisulfite conversion using ddPCR with 4Plex and MYOD1 assays
A)
B)
C)
D)
Chart: MYOD1 average concentration
| 20 | 10 | 5 | 3 | 2 | 1 | 0.5
EpiJET | 31.9477 | 14.674 | 3.4973 | 1.9096 | 1.451 | 0.1257 | 0.69084
EpiTect | 48.384 | 25.488 | 11.088 | 5.1408 | 4.2984 | 1.512 | 0.6048
EZ | 45.8063 | 15.915 | 7.1235 | 3.3251 | 1.8761 | 0.094549 | 0.17873
Imprint | 22.3313 | 6.2049 | 5.421 | 3.1843 | 0.95254 | 0.29839 | 0.29153
Premium | 49.8188 | 20.535 | 10.0114 | 6.5955 | 3.3825 | 0.88118 | 1.0569
Chart: 4Plex average concentration
| 20 | 10 | 5 | 3 | 2 | 1 | 0.5
EpiJET | 42.8083 | 19.6167 | 6.2517 | 3.7583 | 1.595 | 0.16133 | 0.2805
EpiTect | 61.29 | 28.962 | 11.07 | 5.4 | 3.762 | 0.8568 | 0.243
EZ | 54.2438 | 21.9563 | 10.0688 | 6.1688 | 2.475 | 0.14063 | 0.25312
Imprint | 26.2688 | 12.9375 | 7.3313 | 3.375 | 1.3125 | 0.20438 | 0.14813
Premium | 49.8 | 20.9625 | 9.7875 | 5.4188 | 3.0562 | 0.315 | 0.63375
Chart: MYOD1 average recovery
| 20 | 10 | 5 | 3 | 2 | 1 | 0.5
EpiJET | 10.5427 | 9.6848 | 4.6164 | 4.2011 | 4.7883 | 0.82965 | 9.119
EpiTect | 15.9667 | 16.8221 | 14.6362 | 11.3098 | 14.1847 | 9.9792 | 7.9834
EZ | 15.1161 | 10.5039 | 9.403 | 7.3153 | 6.1912 | 0.62402 | 2.3592
Imprint | 7.3693 | 4.0953 | 7.1557 | 7.0055 | 3.1434 | 1.9694 | 3.8481
Premium | 16.4402 | 13.5531 | 13.215 | 14.5101 | 11.1623 | 5.8158 | 13.9516
Chart: 4Plex average recovery
| 20 | 10 | 5 | 3 | 2 | 1 | 0.5
EpiJET | 14.1268 | 12.947 | 8.2522 | 8.2683 | 5.2635 | 1.0648 | 3.7026
EpiTect | 20.2257 | 19.1149 | 14.6124 | 11.88 | 12.4146 | 5.6549 | 3.2076
EZ | 17.9004 | 14.4911 | 13.2907 | 13.5713 | 8.1675 | 0.92813 | 3.3413
Imprint | 8.6687 | 8.5387 | 9.6772 | 7.425 | 4.3313 | 1.3489 | 1.9553
Premium | 16.434 | 13.8353 | 12.9195 | 11.9213 | 10.0856 | 2.079 | 8.3655

## Slide 4
Supplementary Figure 4
Average peak fragment length of bisulfite converted DNA for bisulfite conversion kits
Results are shown for the highest input amounts of 20 and 10 ng fragmented RKO DNA, using the RNA 6000 Pico assay with the Bioanalyzer
Chart: Average peak fragment length
| EpiJET 20 ng | EpiJET 10 ng | EpiTect 20 ng | EpiTect 10 ng | EZ 20 ng | EZ 10 ng | Imprint 20 ng | Imprint 10 ng | Premium 20 ng | Premium 10 ng
Peak size | 136.3333 | 142.6667 | 173.6667 | 173 | 140.3333 | 141.3333 | 123 | 97 | 133 | 132.3333
* Base pair position may not be accurate since bisulfite converted DNA is run on an RNA chip

## Slide 5
Supplementary Figure 5
Overview of the workflow for evaluation of cfDNA isolation kits
Example for 10 ng spiked-in fragmented RKO DNA:
RKO 10 ng replicate 1
RKO 10 ng replicate 2
RKO 10 ng replicate 3
RKO 10ng replicate 1-1
RKO 10 ng replicate 1-2
RKO 10 ng replicate 2-1
RKO 10 ng replicate 2-2
RKO 10 ng replicate 3-1
RKO 10 ng replicate 3-2
Similar set-up for 5, 1 and 0 ng spiked-in fragmented RKO DNA to normal plasma pool, all for three different cfDNA isolation kits
*Performed 2x because of two bisulfite conversion kits downstream
cfDNA isolation*
RKO 10ng replicate 1-1
RKO 10ng replicate 1-2
RKO 10ng replicate 2-1
RKO 10ng replicate 2-2
RKO 10ng replicate 3-1
RKO 10ng replicate 3-2
RKO 10 ng
Average+SD
Bioanalyzer
(all replicates)
Quantification (Qubit)

## Slide 6
Supplementary Figure 6
Average peak fragment length of isolated cfDNA for cfDNA isolation kits
Results are shown for different amounts of spiked-in fragmented RKO DNA to the normal plasma pool, using the High Sensitivity DNA assay with the Bioanalyzer
Chart: Average peak fragment length
| 10 ng | 5 ng | 1 ng | 0 ng | 10 ng | 5 ng | 1 ng | 0 ng | 10 ng | 5 ng | 1 ng | 0 ng | CNA | Maxwell | MinElute
Mean peak | 166.8333 | 169.8333 | 165.6667 | 165.3333 | 174.3333 | 177 | 174.4 | 175.1667 | 177 | 174.3333 | 175.8333 | 175.3333

## Slide 7
Supplementary Figure 7
Fragment length distribution and %cfDNA score for samples for evaluation of contamination of HMW DNA in cfDNA isolation kits
250 ng gDNA
100 ng gDNA
50 ng gDNA
25 ng gDNA
CNA kit
MinElute kit
10 ng gDNA
0 ng gDNA
Cell-free DNA ScreenTape (TapeStation)

## Slide 8
Supplementary Figure 8
Overview of the workflow for evaluation of combinations of cfDNA isolation and bisulfite conversion kits
Example for 10 ng spiked-in fragmented RKO DNA and the CNA cfDNA isolation kit:
Similar set-up for 5, 1 and 0 ng spiked-in fragmented RKO DNA to normal plasma pool, all for three different cfDNA isolation kits
RKO 10 ng replicate 1-1
RKO 10 ng replicate 1-2
RKO 10 ng replicate 2-1
RKO 10 ng replicate 2-2
RKO 10 ng replicate 3-1
RKO 10 ng replicate 3-2
RKO 10 ng
pool
Bioanalyzer
(all replicates)
Bisulfite conversion
RKO 10 ng replicate 1
RKO 10 ng replicate 2
RKO 10 ng replicate 3
RKO 10 ng replicate 1
RKO 10 ng replicate 2
RKO 10 ng replicate 3
EpiTect kit
Premium kit
RKO 10 ng replicate 1
RKO 10 ng replicate 2
RKO 10 ng replicate 3
RKO 10 ng replicate 1
RKO 10 ng replicate 2
RKO 10 ng replicate 3
EpiTect kit
Premium kit
ddPCR
4Plex
Average+SD
4Plex
Average+SD
cfDNA isolated from CNA kit
Pool

## Slide 9
Supplementary Figure 9
Average peak fragment length of bisulfite converted cfDNA for combinations of cfDNA isolation and bisulfite conversion kits
Results are shown for different amounts of spiked-in fragmented RKO DNA to the normal plasma pool, using the RNA 6000 Pico assay with the Bioanalyzer
Chart: Average peak fragment length
| 10 ng | 5 ng | 1 ng | 0 ng | 10 ng | 5 ng | 1 ng | 0 ng | 10 ng | 5 ng | 1 ng | 0 ng | 10 ng | 5 ng | 1 ng | 0 ng | 10 ng | 5 ng | 1 ng | 0 ng | 10 ng | 5 ng | 1 ng | 0 ng | CNA+Epi | CNA+Pre | ME+Epi | ME+Pre | Max+Epi | Max+Pre
Mean peak | 225.6667 | 234.3333 | 245.6667 | 246.6667 | 217.6667 | 217.3333 | 228.3333 | 220.6667 | 229 | 240.3333 | 242.6667 | 246.6667 | 215.3333 | 206 | 212 | 213 | 236.6 | 245.8333 | 235.8333 | 240.5 | 207.3333 | 220.5 | 228 | 235.3333
* Base pair position may not be accurate since bisulfite converted DNA is run on an RNA chip

## Slide 10
Supplementary Figure 10
Fragment length distribution and %cfDNA score for colorectal cancer plasma samples and normal plasma pool
Stage III
Stage IV
Norm
006
059
043
022
382
124
386
217
073
067
137
441
301
Norm
%cfDNA score
Cell-free DNA ScreenTape (TapeStation)