## Supplementary Materials

Supplemental Table 1 Descriptive statistics of plasma pTau181 measurements at 25°C 
in Li-hep, K2-EDTA, and K3-EDTA (Participant 50)

| Time point | n | Mean concentration, pg/mL | SD | CV, % |
| --- | --- | --- | --- | --- |
| Li-hep |  |  |  |  |
| t0 | 10 | 1.87 | 0.0312 | 1.67 |
| t1 | 5 | 1.89 | 0.0277 | 1.47 |
| t2 | 5 | 1.87 | 0.0187 | 1.00 |
| t3 | 5 | 1.84 | 0.0182 | 0.985 |
| t4 | 5 | 1.87 | 0.0114 | 0.611 |
| t5 | 5 | 1.90 | 0.0305 | 1.61 |
| K2-EDTA |  |  |  |  |
| t0 | 10 | 2.04 | 0.0212 | 1.04 |
| t1 | 5 | 2.03 | 0.0167 | 0.823 |
| t2 | 5 | 2.07 | 0.0230 | 1.11 |
| t3 | 5 | 2.05 | 0.0311 | 1.52 |
| t4 | 5 | 2.03 | 0.0164 | 0.810 |
| t5 | 5 | 2.06 | 0.0270 | 1.31 |
| K3-EDTA |  |  |  |  |
| t0 | 10 | 1.99 | 0.0215 | 1.08 |
| t1 | 5 | 1.98 | 0.0179 | 0.903 |
| t2 | 5 | 2.01 | 0.0187 | 0.931 |
| t3 | 5 | 1.99 | 0.0418 | 2.10 |
| t4 | 5 | 1.99 | 0.0251 | 1.26 |
| t5 | 5 | 2.01 | 0.0130 | 0.648 |

Abbreviations CV coefficient of variation, K2-EDTA dipotassium ethylenediaminetetraacetic acid, K3-EDTA tripotassium ethylenediaminetetraacetic acid, Li-hep lithium-heparin, 
pTau181 tau phosphorylated at threonine 181, SD standard deviation, t0 time point 0 (baseline plasma pTau181 measurement), t1–5 measurement time points 1–5

Supplemental Table 2 Descriptive statistics of plasma pTau181 measurements at 25°C 
in Li-hep, K2-EDTA, and K3-EDTA (Participant 51)

| Time point | n | Mean concentration, pg/mL |  | SD |  | CV, % |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Li-hep |  |  |  |  |  |  |  |  |
| t0 | 10 | 0.587 |  | 0.0139 |  | 2.37 |  |
| t1 | 5 | 0.573 |  | 0.0189 |  | 3.30 |  |
| t2 | 5 | 0.593 |  | 0.0110 |  | 1.85 |  |
| t3 | 5 | 0.577 |  | 0.0220 |  | 3.81 |  |
| t4 | 5 | 0.579 |  | 0.0139 |  | 2.40 |  |
| t5 | 5 | 0.585 |  | 0.0199 |  | 3.41 |  |
| K2-EDTA |  |  |  |  |  |  |  |  |
| t0 | 10 | 0.663 | 0.0177 |  | 2.66 |  |
| t1 | 5 | 0.656 | 0.0228 |  | 3.48 |  |
| t2 | 5 | 0.663 | 0.0159 |  | 2.39 |  |
| t3 | 5 | 0.662 | 0.0251 |  | 3.80 |  |
| t4 | 5 | 0.641 | 0.0222 |  | 3.47 |  |
| t5 | 5 | 0.664 | 0.0200 |  | 3.01 |  |
| K3-EDTA |  |  |  |  |  |  |  |  |
| t0 | 10 | 0.644 |  | 0.0112 |  | 1.74 |  |
| t1 | 5 | 0.629 |  | 0.0213 |  | 3.39 |  |
| t2 | 5 | 0.641 |  | 0.0305 |  | 4.77 |  |
| t3 | 5 | 0.653 |  | 0.0170 |  | 2.61 |  |
| t4 | 5 | 0.625 |  | 0.0138 |  | 2.21 |  |
| t5 | 5 | 0.645 |  | 0.00661 |  | 1.03 |  |

Abbreviations CV coefficient of variation, K2-EDTA dipotassium ethylenediaminetetraacetic acid, K3-EDTA tripotassium ethylenediaminetetraacetic acid, Li-hep lithium-heparin, 
pTau181 tau phosphorylated at threonine 181, SD standard deviation, t0 time point 0 (baseline plasma pTau181 measurement), t1–5 measurement time points 1–5