


Supplementary Materials
Supplemental Table 1 Descriptive statistics of plasma pTau181 measurements at 25°C 
in Li-hep, K2-EDTA, and K3-EDTA (Participant 50)
	Time point
	n
	Mean concentration, pg/mL
	SD
	CV, %

	Li-hep

	t0
	10
	1.87
	0.0312
	1.67

	t1
	5
	1.89
	0.0277
	1.47

	t2
	5
	1.87
	0.0187
	1.00

	t3
	5
	1.84
	0.0182
	0.985

	t4
	5
	1.87
	0.0114
	0.611

	t5
	5
	1.90
	0.0305
	1.61

	K2-EDTA

	t0
	10
	2.04
	0.0212
	1.04

	t1
	5
	2.03
	0.0167
	0.823

	t2
	5
	2.07
	0.0230
	1.11

	t3
	5
	2.05
	0.0311
	1.52

	t4
	5
	2.03
	0.0164
	0.810

	t5
	5
	2.06
	0.0270
	1.31

	K3-EDTA

	t0
	10
	1.99
	0.0215
	1.08

	t1
	5
	1.98
	0.0179
	0.903

	t2
	5
	2.01
	0.0187
	0.931

	t3
	5
	1.99
	0.0418
	2.10

	t4
	5
	1.99
	0.0251
	1.26

	t5
	5
	2.01
	0.0130
	0.648


Abbreviations CV coefficient of variation, K2-EDTA dipotassium ethylenediaminetetraacetic acid, K3-EDTA tripotassium ethylenediaminetetraacetic acid, Li-hep lithium-heparin, 
pTau181 tau phosphorylated at threonine 181, SD standard deviation, t0 time point 0 (baseline plasma pTau181 measurement), t1–5 measurement time points 1–5

Supplemental Table 2 Descriptive statistics of plasma pTau181 measurements at 25°C 
in Li-hep, K2-EDTA, and K3-EDTA (Participant 51)
	Time point
	n
	Mean concentration, pg/mL
	SD
	CV, %

	Li-hep

	t0
	10
	0.587
	0.0139
	2.37

	t1
	5
	0.573
	0.0189
	3.30

	t2
	5
	0.593
	0.0110
	1.85

	t3
	5
	0.577
	0.0220
	3.81

	t4
	5
	0.579
	0.0139
	2.40

	t5
	5
	0.585
	0.0199
	3.41

	K2-EDTA

	t0
	10
	0.663
	0.0177
	2.66

	t1
	5
	0.656
	0.0228
	3.48

	t2
	5
	0.663
	0.0159
	2.39

	t3
	5
	0.662
	0.0251
	3.80

	t4
	5
	0.641
	0.0222
	3.47

	t5
	5
	0.664
	0.0200
	3.01

	K3-EDTA

	t0
	10
	0.644
	0.0112
	1.74

	t1
	5
	0.629
	0.0213
	3.39

	t2
	5
	0.641
	0.0305
	4.77

	t3
	5
	0.653
	0.0170
	2.61

	t4
	5
	0.625
	0.0138
	2.21

	t5
	5
	0.645
	0.00661
	1.03


Abbreviations CV coefficient of variation, K2-EDTA dipotassium ethylenediaminetetraacetic acid, K3-EDTA tripotassium ethylenediaminetetraacetic acid, Li-hep lithium-heparin, 
pTau181 tau phosphorylated at threonine 181, SD standard deviation, t0 time point 0 (baseline plasma pTau181 measurement), t1–5 measurement time points 1–5
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