Cytokine Array Assay

The cytokine profile of hlMSC-CM was determined using the Human Angiogenesis Antibody Array (R&D systems, Switzerland) following the manufacturer`s instructions.  Briefly, the CM to be analysed was mixed with a cocktail of biotinylated detection antibodies. The sample/antibody mixture was then incubated with the array membrane, which was bound by its cognate immobilized capture antibody on the assay membrane. Streptavidin-horseradish peroxidase and chemiluminiscent detection reagents were added, in which a signal is produced in proportion to the amount of the analyte. The signal intensity of the cytokines was determined by chemiluminiscence detection using Versadoc (Biorad), software, Quantity One.