Table S1 Tests and specifications for drug substance batch and final drug product release

| Parameter | Method | Specification |  |
| --- | --- | --- | --- |
|  |  | Drug substance (isolated ABCB5+ MSCs) | Final drug product (ABCB5+ MSCs in HRG, 1×107 cells/ml) |
| ABCB5+ cell content | Flow cytometry | ≥ 90% | ≥ 90%a) |
| Mycoplasma | Nucleic acid amplification test (2.6.7/2.6.21 Ph. Eur.) | not detectable (< 10 CFU/ml) | not detectable (< 10 CFU/ml)a) |
| Endotoxin level | Limulus amebocyte lysate test (2.6.14 Ph. Eur.) | ≤ 2 EU/ml | ≤ 2 EU/mla) |
| Live cell count | Flow cytometry (2.7.29/2.7.24 Ph. Eur.) | 2×106–18×106/cryovial | variable (depending on intended application) |
| Deviation of live cell count from expected valueb) | Calculation | ≤ 30% | n.a. |
| Cell vitality | Flow cytometry (2.7.29/2.7.24 Ph. Eur.) | ≥ 90% | ≥ 75% |
| Cell viability | Flow cytometry (2.7.29 Ph. Eur.) | ≥ 90% | ≥ 90%a) |
| CD90+ cell content | Flow cytometry | ≥ 90% | ≥ 90%a) |
| Bead residues | Flow cytometry | ≤ 0.5% | ≤ 0.5%a) |
| Microbiological control | BacT/ALERT® (adapted to 2.6.27 Ph. Eur.) | no growth | no growth |
| IL-1RA secretion | ELISA | > 125 pg/ml and Ratiostim/unstim >1 | > 125 pg/ml and Ratiostim/unstim >1a) |
| VEGF secretion | ELISA | > 46.9 pg/ml | > 46.9 pg/mla) |
| Angiogenic differentiation | Tube formation assay | Capillary structures in one or both seeded cell concentrations | Capillary structures in one or both seeded cell concentrationsa) |

MSC mesenchymal stem cells, HRG Ringer’s lactate solution containing human serum albumin and glucose, n.a. not applicable, Ph. Eur. European Pharmacopoeia

aParameter is not tested in the final drug product; value is adopted from drug substance release testing. Transferability of the result from drug substance release testing onto the final drug product was demonstrated in stability studies and method validations

bExpected value = sum of the live cell counts of ABCB5+ cell isolates that were pooled to produce the drug substance batch

Table S2 Mean live cell count per ABCB5+ cell isolate by donor

| Donor |  |  |  | ABCB5+ cell isolates |  |
| --- | --- | --- | --- | --- | --- |
| # | Sex | Age (years) | Skin tissue origin | Total number of ABCB5+ cell isolates | Live cell count per isolate (mean ± SD) |
| 1 | f | 49 | Mamma | 5 | 25.6 (± 3.1) ×106 |
| 2 | f | 30 | Abdomen | 10 | 19.0 (± 5.5) ×106 |
| 3 | f | 31 | Abdomen | 114 | 25.9 (± 11.2) ×106 |
| 4 | f | 34 | Abdomen | 132 | 30.5 (± 13.3) ×106 |
| 5 | f | 28 | Abdomen | 178 | 34.7 (± 16.5) ×106 |
| 6 | f | 39 | Abdomen | 38 | 37.0 (± 15.0) ×106 |
| 7 | f | 37 | Abdomen | 71 | 48.6 (± 16.9) ×106 |

Included are all isolates that were pooled to the 47 drug substance batches released for drug production

f female

Table S3 Results from drug substance batch release testing by donor

| Parameter | Specification | Donor 1 n = 1 | Donor 2 n = 2 | Donor 3 n = 14 | Donor 4 n = 15 | Donor 5 n = 19 | Donor 6 n = 6 | Donor 7 n = 9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ABCB5+ cell content | ≥ 90% | 95.20% | 96.50±0.35% | 96.18±2.49% | 98.58±0.85% | 97.60±1.49% | 99.27±0.58% | 98.31±1.69%a) |
| Mycoplasma | not detectable (< 10 CFU/ml) | not detectable | not detectable in 2/2 batches | not detectable in 14/14 batches | not detectable in 15/15 batches | not detectable in 19/19 batches | not detectable in 5/6 batches | not detectable in 9/9 batches |
| Endotoxin level | ≤ 2 EU/ml | ≤ 2 EU/ml | ≤ 2 EU/ml in 2/2 batches | ≤ 2 EU/ml in 14/14 batches | ≤ 2 EU/ml in 15/15 batches | ≤ 2 EU/ml in 19/19 batches | ≤ 2 EU/ml in 6/6 batches | ≤ 2 EU/ml in 9/9 batches |
| Live cell count | n.a.b) | 127.90 ×106 | 94.75±10.39 ×106 | 210.89±98.68 ×106 | 268.41±113.69 ×106 | 325.10±135.00 ×106 | 234.38±132.82 ×106 | 383.20±120.74 ×106 |
| Deviation of live cell count from expected valuec) | ≤ 30% | n.a.d) | n.a.d) | n.a.d) | ≤ 30% in 12/15 batchese) | ≤ 30% in 19/19 batches | ≤ 30% in 6/6 batches | ≤ 30% in 9/9 batches |
| Cell vitality | ≥ 90% | 98.70% | 98.80±0.28% | 98.94±0.33% | 98.09±0.90% | 98.80±0.47% | 98.25±0.27% | 98.67±0.35% |
| Cell viability | ≥ 90% | 99.20% | 99.80±0.14% | 98.96±1.11% | 99.48±0.27% | 99.22±0.52% | 99.57±0.10% | 99.29±0.43% |
| CD90+ cell content | ≥ 90% | 99.40% | 99.90±0.14% | 99.44±0.53% | 99.41±0.34% | 99.50±0.61% | 99.67±0.12% | 99.30±0.71% |
| Bead residues | ≤ 0.5% | 0.02% | 0.00±0.00% | 0.02±0.03% | 0.02±0.05% | 0.04±0.03% | 0.09±0.06% | 0.09±0.05% |
| Microbiological control | no growth | no growth | no growth in 2/2 batches | no growth in 14/14 batches | no growth in 15/15 batches | no growth in 19/19 batches | no growth in 6/6 batches | no growth in 9/9 batches |
| IL-1RA secretion | > 125 pg/ml | > 125 pg/ml | > 125 pg/ml in 2/2 batches | > 125 pg/ml in 14/14 batches | > 125 pg/ml in 15/15 batches | > 125 pg/ml in 19/19 batches | > 125 pg/ml in 6/6 batches | > 125 pg/ml in 9/9 batches |
| VEGF secretion | > 46.9 pg/ml | > 46.9 pg/ml | > 46.9 pg/ml in 2/2 batches | > 46.9 pg/ml in 14/14 batches | > 46.9 pg/ml in 15/15 batches | > 46.9 pg/ml in 19/19 batches | > 46.9 pg/ml in 6/6 batches | > 46.9 pg/ml in 9/9 batches |
| Angiogenic differentiation potential | Formation of capillary structures in one or both seeded cell concentrations | positive | positive in 2/2 batches | positive in 14/14 batches | positive in 13/15 batches | positive in 18/19 batches | positive in 6/6 batches | positive in 9/9 batches |

Numeric results are given as mean ± SD

n.a. not applicable

aFor one batch of donor 7, measurement procedure was not fully GMP-conform. Although this did not affect the result, the batch was hold and eventually discarded

bAcceptance criteria for cell count are only defined for the for the aliquots into which the drug substance batches are divided for cryostorage, not for the master batch as a whole

cExpected value = sum of the live cell counts of all ABCB5+ cell isolates that were pooled to produce the drug substance batch

dThe criterion “Deviation of live cell count from expected value” was implemented only from donor 4 on

eDeviations were most likely caused by inhomogeneous distribution of the cells during filling into cryovials. As a consequence, additional mixing steps were implemented in the filling process