Take cDNA for RT-qPCR reaction, add sample according to the ratio in Table S2, immediately centrifuge and mix well, and amplify according to the conditions in Table S3, perform 40 cycles. The Melt Curve Stage is automatically set by the instrument, as shown in Table S4.

Table S2
	Reagent
	Usage

	DNA template
	0.2ul

	Forward primer（10uM）
	0.4ul

	Reverse primer（10uM）
	0.4ul

	2×realstar green fast mixture with RoxⅡ
	10ul

	RNase-free water
	Add to 20ul



Table S3
	Temperature
	Time

	95°C
	2min

	95°C
	15sec

	60°C
	20sec

	72°C
	30sec


Perform 40 cycles in the order of 95°C , 60°C and 72°C.

Table S4
	Temperature
	Time

	95°C
	15sec

	60°C
	1min

	95°C
	15sec

	60°C
	15sec



