Supplementary 3 – Luminex multi panel secretome analysis

Table S3.1

| Human XL Cytokine Luminex® Performance Assay working detection range (pg/mL) and average intra-assay coefficient of variation (%CV) |  |  |  |
| --- | --- | --- | --- |
| Analyte | Low (pg/mL) | High (pg/mL) | Average intra-assay (%CV) |
| CD40 ligand | 550.49 | 395340 | 5.57 |
| EGF | 6.35 | 4500 | 7.19 |
| Eotaxin | 19.17 | 13920 | 9.78 |
| FGF basic | 11.9 | 8620 | 6.33 |
| Flt-3 Ligand | 21.95 | 16000 | 5.87 |
| G-CSF | 12.71 | 9250 | 5.41 |
| GM-CSF | 18.09 | 13080 | 4.44 |
| Granzyme B | 9.76 | 7090 | 6.09 |
| GROα | 18.25 | 13300 | 3.60 |
| GROβ | 9.51 | 6930 | 5.55 |
| IFN-α2 | 4.42 | 3230 | 6.83 |
| IFN-β | 3.03 | 2240 | 8.15 |
| IFN-γ | 0.51 | 370 | 9.26 |
| IL-1α | 10.45 | 7550 | 6.70 |
| IL-1β | 3.88 | 2840 | 6.35 |
| IL-1ra | 10.31 | 7520 | 5.77 |
| IL-2 | 2.54 | 1840 | 4.72 |
| IL-3 | 16.69 | 12140 | 5.48 |
| IL-4 | 1.12 | 820 | 9.38 |
| IL-5 | 6.75 | 4880 | 8.35 |
| IL-6 | 9.16 | 6790 | 9.64 |
| IL-7 | 3.85 | 2830 | 6.88 |
| IL-8 | 2.16 | 1570 | 7.75 |
| IL-9 | 366.53 | 265900 | 4.61 |
| IL-10 | 54.95 | 40350 | 8.37 |
| IL-12 p70 | 18.56 | 13650 | 8.73 |
| IL-13 | 29.42 | 21440 | 6.00 |
| IL-15 | 2.56 | 1870 | 6.69 |
| IL-17A | 8.70 | 6320 | 6.04 |
| IL-17E | 19.05 | 13790 | 6.58 |
| IL-33 | 13.81 | 10200 | 5.22 |
| IP-10 | 2.30 | 1700 | 3.82 |
| MCP-1 | 4.14 | 3000 | 4.07 |
| MIP-1α | 4.62 | 3340 | 8.08 |
| MIP-1β | 74.83 | 54300 | 3.35 |
| MIP-3α | 2.30 | 1700 | 5.87 |
| MIP-3β | 4.47 | 3250 | 7.24 |
| PDGF-AA | 5.43 | 4000 | 8.52 |
| PDGF-AB/BB | 7.21 | 5230 | 5.89 |
| PD-L1/B7-H1 | 6.86 | 5000 | 7.85 |
| RANTES | 261.38 | 192200 | 8.97 |
| TGF-α | 10.04 | 7320 | 5.27 |
| TNF-α | 11.25 | 8200 | 8.20 |
| TNF-β | 0.81 | 590 | 8.84 |
| TRAIL | 23.39 | 17160 | 5.79 |
| VEGF | 6.52 | 4860 | 5.97 |

Figures S3.1.

Dot plots showing secretome concentration (pg/mL) of 46 cytokines from unsorted and sorted CD34+, CD146+, and CD271+ MFAT-derived stem cells analyzed using Luminex® when cultured without (non-spiked) or with IL-1β and TNF-α (OA-spiked) for 48 hours. Data are shown as mean with SD with intergroup comparisons. Cell types not labeled with the same letter are statistically significant different from each other (p < 0.05). Note different y-axes.