## Slide 1: Tutorial for LA-iMageS Summary
Software panel…………………….……………………………….....……………….………………..
Ablation parameters……………………………………………………………………………………
Loading data……………………………………………………………....……….....……….…
Adjusting element intensity………………………………………....………………….….
Smooth the image…………………………………..……………..……..………………..
Export as image...................................................................................
Export as data file................................................................................
Save and reloading the image.............................................................
Image rotation……………………………………………………………..………..………..
3-D View………………………………………………………..………………....…………....
Deleting the axis..................................................................................
Coming back to the start…………………………..………….....…….……….………
Select other element…………………………………………………………....………...
Delete color bar....................................................................................
Insert color bar.....................................................................................
Show tick lines.....................................................................................
2
3
4 to 6
7 to 9
10 to 11
12 to 15
16 to 20
21 to 30
32 to 34
35 to 37
38 to 39
40 to 41
42 to 47
48 to 49
50 to 51
52 to 55

## Slide 2
Click here
to start the image building
Software panel

## Slide 3
1st: Insert the parameters
for building the image
2nd: Insert XL data files
Ablation parameters

## Slide 4
1st:
Select the result folder
2nd:
Click Select
Loading data

## Slide 5
Click Ok
Loading data

## Slide 6
Loading data

## Slide 7
1st: Click Graphic Settings
2nd: Click in Range mode
3rd: Select the option
Custom
Adjusting element intensity

## Slide 8
1st: Select data interval
2nd: Click Ok
Adjusting element intensity

## Slide 9
Adjusting element intensity

## Slide 10
1st: Click Graphic Settings
2nd: Select Interpolation Level
3rd: Chose the best interpolation for your data set
Smooth the image

## Slide 11
Smooth the image

## Slide 12
1st: Click Export
2nd: Click As image, for example
Export as image

## Slide 13
2nd: Click Ok
1st: Choose the local path where the file will be saved
Export as image

## Slide 14
The file will be saved in selected directory
Export as image

## Slide 15
Export as image

## Slide 16
1st: Click Export
2nd: Click As CSV, for example
Export as data file

## Slide 17
Choose the adequate file format to save data
Export as data file

## Slide 18
2nd: Click Ok
1st: Choose the local path where the file will be saved
Export as data file

## Slide 19
The file will be saved in selected directory
Export as data file

## Slide 20
To this format, you can recovery your data used to image building
Export as data file

## Slide 21
2nd: and Save analysis
1st: To save the image, Click File
Save and reloading the image

## Slide 22
2nd: …and click Save
1st: Give a name to the file
Save and reloading the image

## Slide 23
The file will be saved in selected directory
Save and reloading the image

## Slide 24
You can close the tab or the software
Save and reloading the image

## Slide 25
For recovering the image, click Load analysis
Save and reloading the image

## Slide 26
Click the button to show the Data directory
Save and reloading the image

## Slide 27
Click the button to show the Data directory
You must load the file with extension “.lai”
Save and reloading the image

## Slide 28
2nd: …and click Select
1st: Find the file
Save and reloading the image

## Slide 29
Click Ok
Save and reloading the image

## Slide 30
Save and reloading the image

## Slide 31
Other features of
LA-iMageS

## Slide 32
Click to rotate the image
Image rotation

## Slide 33
Click to rotate the image
Image rotation

## Slide 34
Click to rotate the image
Image rotation

## Slide 35
Click here to generate 3D view
3-D view

## Slide 36
Click here to generate 3D view
3-D view

## Slide 37
You can change
z-scale
3-D view

## Slide 38
This tool removes all axis
Deleting the axis

## Slide 39
Deleting the axis

## Slide 40
Cilck here, if you want to restart image bulding
Coming back to the start

## Slide 41
Coming back to the start

## Slide 42
1st: For changing the element, click here
2nd: and select other element
Select other element

## Slide 43
Select other element
1st: Click Graphic Settings
2nd: Click in Range mode
3rd: Select the option
Custom

## Slide 44
1st: Select the interval of Data
2nd: Click Ok
Select other element

## Slide 45
Select other element

## Slide 46
Select other element
1st: Click Graphic Settings
2nd: Select Interpolation Level
3rd: Chose the best interpolation for your data set

## Slide 47
Select other element

## Slide 48
2nd: Click to remove color bar
1st: Click Graphic Settings
Delete color bar

## Slide 49
Delete color bar

## Slide 50
2nd: Click to show the color bar
1st: Click Graphic Settings
Insert color bar

## Slide 51
Insert color bar

## Slide 52
Show tick lines
2nd: Click to remove tick lines
1st: Click Graphic Settings

## Slide 53
Show tick lines

## Slide 54
Show tick lines
2nd: Click to show tick lines
1st: Click Graphic Settings

## Slide 55
Show tick lines