Supplemental Table 1. Intra-assay precision of five replicate measures of recombinant myostatin, propeptide FLRG and GASP-1 at four concentrations diluted in 5% bovine serum albumin in phosphate buffered saline. A pooled human serum sample was also analyzed.  
	
	Myostatin
	Propeptide
	FLRG
	GASP-1

	0.03nM

	Mean
	0.03
	0.04
	0.04
	0.03

	SD
	0.00
	0.00
	0.00
	0.00

	CV
	1.46
	5.21
	7.75
	1.75

	0.19nM

	Mean
	0.19
	0.19
	0.24
	0.20

	SD
	0.01
	0.01
	0.01
	0.00

	CV
	6.42
	7.76
	4.74
	1.20

	0.38nM

	Mean
	0.45
	0.43
	0.36
	0.42

	SD
	0.05
	0.04
	0.02
	0.02

	CV
	11.49
	9.82
	6.57
	5.09

	0.75nM

	Mean
	0.85
	0.74
	0.73
	0.80

	SD
	0.04
	0.05
	0.03
	0.07

	CV
	4.50
	7.17
	3.69
	8.57

	Pooled Human Serum

	Mean
	0.24
	0.22
	0.20
	0.09

	SD
	0.01
	0.02
	0.01
	0.00

	CV
	4.89
	8.04
	5.96
	3.46


