Supplemental Table 3. Percent recovery of myostatin, FLRG and GASP-1.  A human serum pool was spiked (+) at two concentrations (CONC) of the given analyte and the percent recovery was determined relative to the calculated value of the endogenous level plus the spiked protein.
	
	Myostatin
	FLRG
	GASP-1

	
	CONC

(nM)
	Recovery (%)
	CONC

(nM)
	Recovery (%)
	CONC

(nM)
	Recovery (%)

	Neat Serum
	0.326
	-
	0.132
	-
	0.091
	-

	+ 0.1 nM
	0.406
	80%
	0.220
	88%
	0.173
	82%

	+ 0.25 nM
	0.521
	78%
	0.339
	83%
	0.254
	65%


