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Suppl.Table 1: List of reagents used in the automated procedure.
	Vial number
	        Reagents 
	Volumes

	vial A
	Recovered H218O
	　

	vial B
	Eluent QMA (K2CO3/K222 in CH3CN/H2O, 44/11, v/v) 
	1 mL

	vial C
	CH3CN anhydrous 
	0.8 mL

	vial D
	CH3CN anhydrous 
	0.8 mL

	vial E
	Mobile phase (1/1 CH3CN /H2O + 0.5% phosphoric acid) 
	2 mL

	vial F
	Precursor 
	5 mg

	vial G
	Collect reaction mixture
	　

	vial H
	H2O (to mix with the collected LC fraction)  
	40 mL

	vial I
	H2O (to remove CH3CN)
	15 mL

	vial J
	Ethanol
	 0.9 mL

	vial K
	Normal saline
	 5 mL

	vial L
	sterile vial containing 5 ml saline (for collecting product)

	vial M
	Mobile phase (1/1 CH3CN /H2O + 0.5% phosphoric acid)
	　

	
	
	



