Additional file 1 Effect of pooling of lung samples on A. pleuropneumoniae and serotypes detection

|  |  |  | A. pleuropneumoniae qPCR (Cq value) |  | Serotype qPCR (Cq value) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Microbiological culture | Serotype | Single | Pool | Single | Pool |
| Lung01 | neg |  | neg |  |  |  |
| Lung02 | neg |  | neg |  |  |  |
| Lung03 | neg |  | neg |  |  |  |
| Lung04 | neg |  | neg |  |  |  |
| Lung05 | A. pleuropneumoniae | 13 | 30.5 | 33.8 | 27.5 | 30.3 |
| Lung06 | A. pleuropneumoniae | 17 | 24.3 | 26.6 | 22.5 | 26.7 |
| Lung07 | A. pleuropneumoniae | 2 | 28.1 | 30.6 | 28.0 | 30.0 |
| Lung08 | A. pleuropneumoniae | 4 | 26.1 | 28.1 | 26.1 | 28.1 |
| Lung09 | A. pleuropneumoniae | 8 | 27.0 | 28.2 | 27.1 | 28.7 |
| Lung10 | A. pleuropneumoniae | 9/11 | 24.2 | 26.2 | 23.6 | 26.0 |

Lungs from four pigs (01-04) with negative results for A. pleuropneumoniae qPCR and microbiological isolation were used to create pools of five lungs. Each positive lung (05-10) was mixed with the four negative lungs to form various pools of five tissue samples. The Cq values for A. pleuropneumoniae qPCR and the respective serotypes were compared between individual analyses and pooled samples. No sensitivity issues were reported for either A. pleuropneumoniae or the serotypes. This assessment supports the conclusion that pooling up to five animals within an outbreak does not compromise the sensitivity of the technique