Additional file

Influence of a swab type on the results of point-of-care tests

Aleksandra Anna Zasada1, Katarzyna Zacharczuk2, Katarzyna Woźnica1, Małgorzata Główka1, Robert Ziółkowski3, Elżbieta Malinowska3,4.

1National Institute of Public Health - National Institute of Hygiene, Department of Sera and Vaccines Evaluation, Warsaw, Poland

2National Institute of Public Health - National Institute of Hygiene, Department of Bacteriology and Biocontamination Control, Warsaw, Poland

3Warsaw University of Technology, The Chair of Medical Biotechnology, Faculty of Chemistry, Warsaw, Poland

4Centre for Advanced Materials and Technologies CEZAMAT, Polna 50, 00-644 Warsaw, Poland

Corresponding author:

Aleksandra Anna Zasada

e-mail: azasada@pzh.gov.pl

phone: +48 22 5421212

fax: +48 22 8497484

Additional Table S1. Average amount of extracted DNA (ng/µl).

| Density (McF) | E. coli ATCC 25922 | C. diphtheriae 5820/15 (tox -) | C. diphtheriae NCTC 10648 (tox +) |
| --- | --- | --- | --- |
| 0.5 | 22.0 | 3.6 | 1.2 |
| 1 | 22.4 | 5.4 | 2.7 |
| 2 | 22.4 | 5.3 | 5.5 |
| 3 | 30.7 | 6.2 | 8.1 |
| 4 | 58.0 | 8.6 | 7.2 |
| 5 | 70.0 | 8.8 | 7.6 |
| 6 | 62.8 | 13.1 | 8.7 |
| 7 | 87.6 | 22.6 | 10.0 |
| 8 | 95.3 | 22.8 | 17.6 |
| 9 | 103.3 | 39.6 | 32.5 |